## Slide 1: The Primary Sources of Risk and a New Metric
Michael Schilmoeller
Thursday May 19, 2011
SAAC

## Slide 2: Outline
  Sixth Plan regression analysis
  The nature of TailVaR90 futures
  Per kWh cost metric

## Slide 3: What do the Risky Futures Look Like?
See Appendix J of the Sixth Power Plan
  Section Quantitative Risk Analysis identifies electricity prices, loads, carbon penalty, and natural gas prices to be the principal sources of risk
The issue of load is nettlesome

## Slide 4: Regression Analysis
Table J-3: Regression Model Coefficients
  What do these have in common? Persistence.

## Slide 5: Intuition About Risk
  Worst Futures Spinner.xls

## Slide 6: The Issue of Load is Nettlesome
Higher loads mean higher costs
Load growth is not typically associated with hardship for the regional ratepayer
There are more kWh over which to spread the cost of the existing and the new system
Without adjusting for kWh, TailVaR90 risk is dominated by high-load futures, and risk management is weighted toward resources that mitigate cost in high-load futures

## Slide 7: The Act is Ambiguous On This
The Act directs the Council to reduce cost to BPA customers (utilities) and regional ratepayers
If load forecasts are not variable, NPV cost of the system is a good measure of economic efficiency
Where loads vary, as they do among futures, we need to reconsider the NPV metric

## Slide 8: A New Metric
The Council’s NPV cost (and risk) currently includes all variable costs (e.g., fuel) for existing and new resources, and real levelized fixed costs for new resources.
A per kWh cost metric would include NPV of an estimate of annual embedded cost
We are interested in bills, not rates, so the total annual present value cost would be divided by the associated annual frozen efficiency load (kWh)

## Slide 9: What do Plans Selected Using the Modified Metric Look Like?

## Slide 10: What do Plans Selected Using the Modified Metric Look Like?
CCCT permitting was unaffected
There were a few cases where fewer MW of SCCT were permitted by the end of the study (1,458 MW vs 1,620 MW)
Conservation premiums were capped ($70/MWh vs $100/MWh for discretionary conservation, $40/MWh vs $60/MWh for lost opportunity)

## Slide 11: Would the committee support a recommendation to include this new metric for consideration in resource portfolio selection?

## Slide 12: End