## READ ME
Northwest Power and Conservation Council
Quantifiable Resource Cost Framework - Working Document
Last updated: 3/12/19
The purpose of this framework is to document how the Council considers and quantifies costs across all resources - generating resources, energy efficiency, and demand response - and to ensure consistent application and treatment of those costs. While the consideration and quantification of costs within the Council's power planning process is nothing new, this framework provides an explicit way to capture this methodology in one place. By doing so, we are hoping to provide greater transparency and improve understanding of the Council's process and rationale for the development of resource costs pursuant to the Northwest Power Act (see definition of "system cost" from the Power Act in excerpt in the third tab; full language of the Power Act is available on the Council's website).
This framework is intended to be a living document. By sharing it with the Council's advisory committees, we are seeking stakeholder feedback to ensure that for costs that meet the Power Act's definition of system cost and can be quantified within the power planning process, we are capturing these costs adequately and accounting for these costs consistently across resources. We recognize that as new data and analysis becomes available, there may be opportunities to update how we quantify certain costs.
For more information on the background and objective of this framework, please see the Power Committee presentation from its meeting on March 12, 2019.
If you have specific questions or feedback on this framework, and in particular the approach to quantifying costs (blue section), please direct them to an advisory committee co-chair or Chad Madron at cmadron@nwcouncil.org.
Link to Power Committee 3/12

## Quant. Resource Cost Framework
Working Document - Direct Quantifiable Resource Costs
Direction from the Power Act |  |  |  | Council approach to accounting for cost of new resource/technology competing in the power system models |  |  | Quantified in power system models | External to Power Plan
Potential Resource Cost Consideration | Within the Power Act's definition of "system cost"? | Explanation for fit within the Power Act definition | Can the cost be quantified within the Council's Power Plan? | Generating Resources Supply-side resources, demand-side generating resources (including distributed generation), and energy storage. | Energy Efficiency | Demand Response | System Quantified in Council's power system models - AURORA, Regional Portfolio Model, GENESYS | Regional Technical Forum (RTF) (All costs are incremental to EE costs listed in column F)
Capital/incremental cost: Cost of the resource or measure | Yes | The system cost, as defined in the Act, includes the direct cost of the resource. This is a key component of that direct cost. | Yes | Overnight capital cost is estimated for each new reference plant (technology and configuration). | Include the cost of the measure. For retrofit measures, it is the full cost of the measure. For lost opportunity, it is the incremental cost of measure over the cost of the assumed baseline equipment. | These would be enablement costs, including technology and installation of control device |  | n/a
Operations and maintenance costs: Cost of operations and ongoing maintenance of the resource or measure, including labor and equipment directly attributable. | Yes | System costs, as defined in the Act, considers the direct cost of the resources over its effective life. O&M costs are needed to estimate lifetime costs. | Yes | Fixed and variable operating and maintenance costs are assigned to each new generating resource reference plant. | These are accounted for directly in the cost of a measure. The O&M costs are estimated as the difference between the costs for maintaining the measure and the costs for the assumed baseline. For retrofit measures, that is full O&M costs. In some cases, the costs may be negative and therefore are considered a benefit for the measure. | Generally includes event notification and verification of savings. These costs would be borne by the utility running the program. There may also be end-use O&M costs due to DR participation for which the incentive would compensate. This could be captured in the determination of what portion of the incentive is included in the costs. | Operating and maintenance costs are calculated for the existing system. | n/a
Fuel cost (production): This includes the costs of fuel as part of the lifetime cost of the resource. For example, the cost of gas or coal to fuel production. | Yes | System cost, as defined by the Act, includes fuel costs. | Yes | Not explicitly quantified at the resource level. See system. | Not explicitly quantified at the resource level. See system. | Not explicitly quantified at the resource level. See system. | A set of fuel price forecasts are included in the model and associated with any applicable resource. | n/a
Fuel cost (end-use): This accounts for any change in fuel use at the end use as a direct result of the measure. | Yes | System cost, as defined by the Act, includes fuel costs. | Yes | Not currently quantifiable or not applicable | Where a measures results in a reduction (or increase) of a non-electric fuel, that is quantified and value. For wood savings, that is valued at the retail rate of electricity. For gas savings, it values it at the forecasted market price for gas plus carbon adder. | End use fuel switching due to DR could be captured if data existed to do so. |  | n/a
Transmission (existing, new): The costs paid to reserve or use capacity on the electric transmission system (for all utility scale generating resources) and on the gas transmission system (for resources which combust gas to produce electric power). This may also include the cost of upgrades needed to expand the transmission systems to accommodate the delivery of energy from new resources. | Yes | The system cost, as defined in the Act, specifically identifies the cost of distribution and transmission to the consumer to be accounted for in the cost. | Yes | Applicable electric and gas transmission reservation costs are included as fixed costs for each resource. Electric transmission system upgrades or expansion needed to ensure new resource deliverability are allocated across the system and included in the fixed reservation rate; no additional charge or adder is needed. However, additional transmission related costs could be applied to resources which are anticipated to have exceptionally high interconnection costs since those costs are allocated to the project developer. | Not currently quantifiable or not applicable | Not currently quantifiable or not applicable | On/off peak wheeling charge in $/MWh applied to generation on the eastside of the region going to the westside of the region is associated with the equilibrium electricity prices, off which economics of resources and cost of market resources are considered. | n/a
Transmission and distribution (deferral): The costs and benefits of delaying the capacity expansion of the T&D system, including upgrades to the existing system. For example, an energy efficiency measure deferring load growth and the need to expand the local distribution system. | Yes | The system cost, as defined in the Act, specifically identifies the cost of distribution and transmission to the consumer to be accounted for in the cost. | Yes | Resources which can provide this locational benefit are given the same deferral value as is used by energy efficiency and demand response. | Council currently assumes a value of $26 per kw-yr for a bulk system credit and $31 kw-yr for a local system distribution credit. The kw value is estimate based on savings shape and line loss considerations. The Council is reconsidering this value for the 2021 Plan. | Council currently assumes a value of $26 per kw-yr for a bulk system credit for DR. The kw value is estimate based on savings shape and line loss considerations. The Council is reconsidering this value for the 2021 Plan. |  | n/a
Administrative costs: Essentially overhead costs for the resource. For generating resources, these are considered the owner's costs. For EE and DR, these are the costs of administering and marketing the program. | Yes | This is considered to be part of the direct cost of the resource. | Yes | The owner's cost (costs incurred by the project developer - permits, licenses, land, project development costs, infrastructure, taxes, regulatory compliance costs) is included in the capital cost of a resource. | Council currently adds 20% of the measure cost to account for administrative costs, including any marketing costs. The Council reconsiders this value with each Plan. | Varies by DR Product, generally marketing costs are on a new participant basis and administration costs could be % or per kW or per participant |  | n/a
Tax credits (Federal) These are Federal credits provided for development of a specific resource or measure. | Yes | Tax credits will impact the direct cost of a resource. | Yes | Tax credits are included as a benefit to the resource when applicable | There are currently no Federal tax credits for energy efficiency measures. | No tax credits have existed for DR products. |  | n/a
Tax credits (State) These are state credits provided for development of a specific resource or measure. | Yes | Tax credits will impact the direct cost of a resource. | Yes | State tax credits have been considered an in-region transfer payment and therefore not accounted for the resource cost. | State tax credits have been considered an in-region transfer payment and therefore not accounted for the resource cost. | State tax credits have been considered an in-region transfer payment and therefore not accounted for the resource cost. |  | n/a
Regional preference adder: 10% adder for conservation per the Power Act | Yes | The Power Act gives preference to conservation through this 10% credit (§3(4)(D), 94 stat. 2699) | Yes | n/a | Not explicitly quantified at the resource level. See system. | Not explicitly quantified at the resource level. See system. | If conservation would supply similar benefits as a comparable resource at a cost that is less than 110 percent of the cost of the alternative resource, then that conservation is considered cost-effective and all system models would select that as a resource to be purchased | n/a
Reliability: This is the value of increased system reliability provided by a specific resource. | Yes | The Power Act seeks an "adequate, efficient, economical, and reliable power supply". In addition § 4(e)(3)(E) requires an analysis of reserve and reliability requirements and cost-effective methods of providing reserves. Reliability should be therefore accounted for in system cost. | Somewhat | Not explicitly quantified at the resource level. See system. | Not explicitly quantified at the resource level. See system. | Not explicitly quantified at the resource level. See system. | The value of a reliable system is estimated as part of the overall system cost and not included in any specific resource cost. In the Seventh Plan, there was an Action Plan item (Res-3) to "Develop and implement methods to identify system specific least-cost resources to maintain resource adequacy (and reliability)." The Council also assesses this as part of its annual resource adequacy assessment. | n/a
Ancillary services: Additional attributes of a resource to help maintain the integrity of the power/grid and transmission systems. For example, operating reserves used for load following, variable resource integration, and frequency response. | Yes | The Power Act is seeks an "adequate, efficient, economical, and reliable power supply". Ancillary services are important for the integrity (and reliability) of the system. | Sometimes | Renewable resources may have an integration cost adder to reflect the cost of using reserves at timescales shorter than what is modelled at the system level. | Not explicitly quantified at the resource level. See system. | Not explicitly quantified at the resource level. See system. | The system portfolio model includes ancillary services. The ability for a resource to provide this service is dictated by it's operating parameters, and the value of doing so is reflected in a relatively lower or higher total system operating cost.
Greenhouse Gas Emissions: This is the cost of greenhouse gas emissions. This includes the cost of direct emissions accounted for in regulations and compliance costs and residual emissions beyond those. Includes: CO2, CH4, CO, other. | Yes | As defined in the Act, the system cost should include all quantifiable environmental benefits that are directly attributable to the resource. Greenhouse gas emissions that are directly attributed to the resource are quantified, where possible. | Sometimes | Not explicitly quantified at the resource level. See system. The cost of compliance with environmental regulations resulting in additional capital and operating expenses are added to the existing system cost for applicable generating units. | Not explicitly quantified at the resource level. See system. | Not explicitly quantified at the resource level. See system. | In the system dispatch and expansion the impact on greenhouse gas emissions is tracked and quantified. | When testing measures for cost-effectiveness, the RTF uses electricity prices with a carbon adder based on the social cost of carbon. This is to account for the fact that the cost-effective energy efficiency target of 1400aMW in 2021 from the 7P was informed by scenarios that accounted for carbon costs.
Particulates and non-carbon emissions: This is the cost of particulates and other non-carbon emissions. This includes the cost of direct accounted for in regulations and compliance costs and residual emissions beyond those. Includes: PM2.5, SOX, NOX, other. | Yes | As defined in the Act, the system cost should include all quantifiable environmental benefits that are directly attributable to the resource. Particulates that are directly attributed to the resource are quantified, where possible. | Sometimes | The cost of compliance with environmental regulations are included in new (assumed compliance includes equipment in capital cost) and existing resources (additional capital and operating expenses added to the existing system cost for applicable generating units). Emissions outside of regulatory compliance costs are considered residuals. These are not quantified in the Plan. | Not currently quantifiable or not applicable. Note: Previously the Council considered the inclusion of costs for reductions in PM2.5 associated with reduced wood smoke. The Council decided not to move forward, as described in the environmental methodology in the Seventh Power Plan. | Not currently quantifiable or not applicable. | Included implicitly in external electricity price forecast input into the RPM from AURORA in so much as the policy is modeled in AURORA and accounted for within electricity price. The cost of compliance with environmental regulations resulting in additional capital and operating expenses are added to the existing system cost for applicable generating units. | n/a
Decommissioning/end-of-lifecycle, including disposal of hazardous waste: Costs associated with disposing hazardous waste associated with a specific resource or measure. | Yes | End-of-cycle and waste disposal costs are included in definition of system cost. | Yes | Decommissioning and disposal of hazardous waste costs are included in the capital cost of a new resource. | Not currently quantifiable or not applicable. | Not currently quantifiable or not applicable. |  | The RTF quantifies savings and costs for some short-term measures not accounted for in the Council's Plan (as these are not considered a resource that will maintain over of the Plan period). The RTF includes decommissioning costs in these short-term measures, where they exist.
Impacts on land, water, and air: This can include a variety of things. For example, the reduced impacts from mining and extraction required for generating resources. Or impacts associated with siting and licensing. | Yes | The system cost should include all quantifiable environmental benefits that are directly attributable to the resource. Impacts on land, water, and air that are directly attributed to the resource are quantified, where possible. | No | Typically dealt with qualitatively as these costs can be hard to quantify. Limited information available. The Council has designated Protected Areas that prohibit the development of hydro facilities on streams or rivers where there would be major negative (irreversible) impacts should development be pursued. | These impacts are accounted for to the extent possible in the generating resources, or through the transmission & distribution and deferred generation costs. | These impacts are accounted for to the extent possible in the generating resources, or through the transmission & distribution and deferred generation costs. |  | n/a
Water use (volume, end-use): Any change in water use (typically a reduction) resulting from the resource. | Yes | The system cost should include all quantifiable environmental benefits that are directly attributable to the resource. Changes in water use directly attributed to a resource should be quantified, where possible. | Sometimes | Not currently quantifiable or not applicable | The retail rate of water (water bills) or embedded energy of water for water/waste water needs are methods for valuing water impact. Other proposed methods for accounting for this is the value of increased hydro generation resulting from less water (for example with irrigation measures). | It is possible an end-use customer may reduce water use as part of a curtailment program (e.g. shutting off a fountain during an event), but the impacts would be challenging to quantify given the lack of knowledge of such activities |  | n/a
Generation deferral: This is the value of deferring future generation. | Yes | This would be part of accounting for the total system cost. This is not an included in the costs of new resources, but is determined after the RPM based on the deferred generating plant. | Yes | Not explicitly quantified at the resource level. See system. | Not explicitly quantified at the resource level. See system. | Not explicitly quantified at the resource level. See system. | The value of deferred generation is determined through the RPM modeling. The 7P found that energy efficiency and demand response defer the purchase of alternate resources (specifically simple-cycle combustion turbines). | The RTF includes a value for deferred generation in ProCost when estimating the cost-effectiveness of measures relative to the Plan resource mix. The current value is $115 per bulk KW-year.
Risk Mitigation Credit: Value provided to energy efficiency to represent the stochastic variation of inputs in the Power Plan modeling. The value represents the benefit EE provides in mitigating risk of future resource cost variations. | Yes | Value helps to ensure that individual measures are aligned with the Power Plan findings when testing for cost-effectiveness. | Yes | n/a | Not explicitly quantified at the resource level. See System and Regional Technical Forum. | n/a | Risk is intrinsic in the RPM modeling and energy efficiency and other resources are acquired to minimize risk. | Value is determined after the cost-effective energy efficiency target is established by the Power Plan. Holding other parameters of the cost-effectiveness equation constant, staff solve for the risk mitigation credit value so that the potential from all cost-effective measures is nearly equivalent to the conservation targets established in the Plan.
Resiliency: The value of the ability of the power system to withstand and reduce the magnitude and/or duration of disruptive events, which includes the capability to anticipate, absorb, adapt to, and/or rapidly recover from such events. | No | The Power Act seeks an "adequate, efficient, economical, and reliable power supply". While resiliency is not directly listed, a resilient system may be needed to ensure reliability. | No | Not explicitly quantified at the resource level. See system. | Not currently explicitly quantified at the resource level. See system. | Not currently explicitly quantified at the resource level. See system. | The system models account for reliability and resource adequacy in a long term planning context. An evaluation of resiliency improvements for recovery following an operational contingency are not included. | n/a
Economic development: This includes a variety of things including job creation or loss, increased or decreased worker productivity, property values, etc. | No | System cost, as defined by the Act, does not include costs or benefits to economic development, and economic development is not addressed elsewhere in the Act. | n/a | n/a | n/a | n/a | n/a | n/a
Public Health: This could be a variety of things (indoor air quality, reduced allergens). This is to account for things not already accounted for under the environmental considerations outlined above (example: clean air could be attributed to greenhouse gas emissions) | No | System cost, as defined by the Act, does not include the costs and benefits to public health, and public health is not addressed elsewhere in the Act. If there is an environmental consideration that also benefits public health, that should be accounted for above. | n/a | n/a | n/a | n/a | n/a | n/a
Safety: This includes a variety of things included reduced risk of fire, accidents, pipeline ruptures, etc. | No | System cost, as defined by the Act, does not include costs or benefits to public safety, and public safety is not addressed elsewhere in the Act. | n/a | n/a | n/a | n/a | n/a | n/a
Security: Including national security (reduced exports) and energy independence in the northwest. | No | System costs, as defined by the Act, does not include costs or benefits to security, and security is not addressed elsewhere in the Act. | n/a | n/a | n/a | n/a | n/a | n/a
Comfort: Can contain many things, including improved airflow, reduced drafts, better humidity control, noise reduction. Etc. | No | System costs, as defined by the Act, does not include costs or benefits to consumer comfort, and consumer comfort is not addressed elsewhere in the Act. | n/a | n/a | n/a | n/a | n/a | RTF will need to reconsider, and likely remove, costs associated with takeback (additional energy use) associated with ductless heat pumps, as these are generally considered to be a comfort benefit.
Aesthetics This can include more attractive home/business, better lighting, reduction in dust, etc. | No | System costs, as defined by the Act, does not include costs or benefits to aesthetics, and aesthetics are not addressed elsewhere in the Act. | n/a | n/a | n/a | n/a | n/a | n/a
Satisfaction/pride: This could include impacts such as improved sense of self-sufficiency, feeling good for addressing environmental and social concerns. | No | System costs, as defined by the Act, does not include costs or benefits to satisfaction or pride, and these topics are not addressed elsewhere in the Act. | n/a | n/a | n/a | n/a | n/a | n/a
Business: Could include a variety of impacts to businesses including the ability to provide premium pricing, new revenues for providing a "green" product, increased market share, increased shareholder returns, etc." | No | System costs, as defined by the Act, does not include costs or benefits to businesses, and business impacts are not addressed elsewhere in the Act. | n/a | n/a | n/a | n/a | n/a | n/a
Insurance premiums: This includes increases or reductions to insurance premiums as the result of a resource. This could be for either the home or business. | No | System costs, as defined by the Act, does not include costs or benefits for changes to insurance premiums, and insurance premiums are not addressed elsewhere in the Act. | n/a | n/a | n/a | n/a | n/a | n/a
Note on G4: Council staff is specifically seeking feedback from the DRAC on cost accounting and quantification of DR
Note on C33: Andrea Goodwin: We don't technically account for resiliency above. It is listed but we don't have any value added or cost input?

## Power Act
The Northwest Power Act can be found in it's entirety on the Council's website -
https://www.nwcouncil.org/sites/default/files/poweract.pdf
The definition of "system cost" is included below.