## 2021P Draft - ReadMe
This workbook is a technical document supporting the work of estimating the costs of energy efficiency measures for the draft 2021 Power Plan. Technical information displayed here relate to incremental cost and savings and total potential for a particular measure.
For more information, see the Council's Conservation Resources Advisory Committee (CRAC) webpage where presentations on measures are posted.
Questions? Contact Tina Jayaweera, tjayaweera@nwcouncil.org, 503.222.5161.

## Overview
Q:\Eighth Plan\Conservation Analysis\Residential\[Res_Master2021P.xlsx]TURN
Version Date | 2020-07-31
Sheet Name | Contents
Overview | Overview of model structure
Update Log | Update Log: Log for updates to Draft 6th Plan Assessment
MLIST | Master List of measure bundles
FILES | List and links to measure-level files. Plus housekeeping and administrative functions.
APPLIC | Applicability factor for the measure bundle. Fraction of stock the measure applies to.
BASE | Baseline penetration of measure bundles. Estimated fraction of stock where the measure is already in place.
STOCK | Vintage cohort for measure bundles.
TURN | Turnover rate for stock to which measure applies.
ACHIEV | Achievable rate of acquisition for measure bundles by year
SATS | Measure saturations by building type
VARS | List of variables and definitions used in the CHAR tab and elsewhere in the files.
Measure Workbooks: These workbooks contain the detailed analysis for all the measures. Generally there is one workbook for each bundle of similar or related measures.
Naming convention starts with the Sector (For example: Res-Showerhead-2021P-v2.xls means is the Supply Curve workbook for the measure low-flow showerheads, 2021 Plan, version 2)
These files do not contain the ProCost engine used for cost-effectiveness analysis, but they contain the inputs and outputs from ProCost. They contain the supporting analysis of measure cost and savings as well as links to data used to support the analysis. In some cases, they may link to an RTF workbook that contains the details of the analysis. They also contain supply curves for the measure bundle.
Basic layout as follows:
SC worksheets: Calculates supply curve total savings potential by cost bin by year. Uses output data from MData worksheets along with unit forecasts from floor space sheet and achievability rates from ComMaster. Usually there are several SC worksheets for new, retrofit and natural-replacement applications since cost and savings and units are different for each application.
M_Input worksheet: Input tab that is read by ProCost engine. Also includes the ProCost outputs.
M_Input_Out worksheet: Abbreviated ProCost output used for SC worksheets.
Other worksheets: Measure level inputs and outputs. Any workbook with a "raw" tab, this worksheet is a copy of the RTF Measure Input Output worksheet for that particular measure.
forRPM: Key data used to create supply curve inputs for the Regional Portfolio Model.
2021PSourceSummary: Summarizes key input assumptions, sources and calculation methodology.
ResMaster
Contains measure list, links to all supporting files and sheets for other administrative functions.
Contains key characteristics common among measures used to calculate savings estimates. Includes measure applicability (APPLIC), baseline penetration (BASE), applicable vintage cohort (STOCK), achievability rates (ACHIEV), fuel saturations, equipment saturations and other key characteristics (FEAS) used in the analysis by building occupancy type and application (New, Retro or Natural Replacement (NR)) . Also includes common variables, labels (VAR & Labels) and other administrative functions.
8PForecast.xls (or similar name)
Output from regional forecast model. Supply curve estimates are driven primarily by floor space estimates, equipment count or population. File contains stock estimates relevant to the measures by building occupancy type, state and vintage.
MC_AND_ LOADSHAPE
Contains avoided cost and shape of savings data. Called by ProCost.
ConsWBExtract
Pulls data from the "forRPM" tab from each individual workbook into a single CSV file.

## MLIST
MLIST | Master Measure List, Bundled Measures
1 | 2 | 3 | 4 | 5 | 6 | 7
This column linked to Attributes Sheets
End Use | Base Measure Name | VCohort | Measure Index Name | M BUNDLE ID | Measure Bundle Description | Number of Measures in Bundle | Descriptive Name
Lighting | Pin Lamps | New | Pin Lamps - New
Lighting | Pin Lamps | NR | Pin Lamps - NR
Lighting | Lamps | NR | Lamps - NR
Water Heating | Dishwasher | New | Dishwasher - New
Water Heating | Dishwasher | NR | Dishwasher - NR
Water Heating | Clothes Washer | New | Clothes Washer - New
Water Heating | Clothes Washer | NR | Clothes Washer - NR
Water Heating | WasteWater Heat Recovery | New | WasteWater Heat Recovery - New
Water Heating | Showerheads | New | Showerheads - New
Water Heating | Showerheads | NR | Showerheads - NR
Water Heating | TSRV | New | TSRV - New
Water Heating | TSRV | Retro | TSRV - Retro
Water Heating | HPWH | New | HPWH - New
Water Heating | HPWH | NR | HPWH - NR
Water Heating | Aerator | New | Aerator - New
Water Heating | Aerator | Retro | Aerator - Retro
Water heating | WH Pipe insulation | New | WH Pipe insulation - New
Water heating | WH Pipe insulation | Retro | WH Pipe insulation - Retro
Water Heating | Circulators | New | Circulators - New
Water Heating | Circulators | NR | Circulators - NR
Dryer | Clothes Dryer | New | Clothes Dryer - New
Dryer | Clothes Dryer | NR | Clothes Dryer - NR
Refrigeration | Refrigerator | New | Refrigerator - New
Refrigeration | Refrigerator | NR | Refrigerator - NR
Refrigeration | Freezer | New | Freezer - New
Refrigeration | Freezer | NR | Freezer - NR
Food Preparation | Electric Oven | New | Electric Oven - New
Food Preparation | Electric Oven | NR | Electric Oven - NR
Food Preparation | Microwave | New | Microwave - New
Food Preparation | Microwave | NR | Microwave - NR
Electronics | Monitor | New | Monitor - New
Electronics | Monitor | NR | Monitor - NR
Electronics | Desktop | New | Desktop - New
Electronics | Desktop | NR | Desktop - NR
Electronics | Laptop | New | Laptop - New
Electronics | Laptop | NR | Laptop - NR
Electronics | Computer | New | Computer - New
Electronics | Computer | NR | Computer - NR
Electronics | Advanced Power Strips | New | Advanced Power Strips - New
Electronics | Advanced Power Strips | Retro | Advanced Power Strips - Retro
Electronics | UHD TV | New | UHD TV - New
Electronics | UHD TV | NR | UHD TV - NR
Lighting | Fixtures | New | Fixtures - New
Lighting | Fixtures | NR | Fixtures - NR
HVAC | ASHP Upgrade | New | ASHP Upgrade - New
HVAC | ASHP Upgrade | NR | ASHP Upgrade - NR
HVAC | ASHP Conversion | New | ASHP Conversion - New
HVAC | ASHP Conversion | Retro | ASHP Conversion - Retro
HVAC | DHP | New | DHP - New
HVAC | DHP | Retro | DHP - Retro
HVAC | DHP Ducted | Retro | DHP Ducted - Retro
HVAC | Duct Sealing | New | Duct Sealing - New
HVAC | Duct Sealing | Retro | Duct Sealing - Retro
HVAC | Smart tstats | New | Smart tstats - New
HVAC | Smart tstats | Retro | Smart tstats - Retro
HVAC | Cellular Shades | New | Cellular Shades - New
HVAC | Cellular Shades | Retro | Cellular Shades - Retro
HVAC | CAC | New | CAC - New
HVAC | CAC | NR | CAC - NR
HVAC | Heat Recovery Ventilation | New | Heat Recovery Ventilation - New
HVAC | GSHP | New | GSHP - New
HVAC | GSHP | NR | GSHP - NR
HVAC | Whole House Fan | Retro | Whole House Fan - Retro
HVAC | Whole House Fan | New | Whole House Fan - New
Water Heating | Circulator Controls | New | Circulator Controls - New
Water Heating | Circulator Controls | NR | Circulator Controls - NR
Whole Bldg/Meter Level | Behavior | Retro | Behavior - Retro
Whole Bldg/Meter Level | Behavior | New | Behavior - New
Whole Bldg/Meter Level | EV Supply Equip | New | EV Supply Equip - New
Whole Bldg/Meter Level | EV Supply Equip | NR | EV Supply Equip - NR
Other | Air cleaners | New | Air cleaners - New
Other | Air cleaners | NR | Air cleaners - NR
HVAC | RAC | New | RAC - New
HVAC | RAC | NR | RAC - NR
Other | Well Pump | New | Well Pump - New
Other | Well Pump | NR | Well Pump - NR
HVAC | ResWx | Retro | ResWx - Retro
EndUse_Name
Electronics
Food Preparation
HVAC
Lighting
Refrigeration
Dryer
Water Heating
Whole Bldg/Meter Level
Other

## FILES
FILES | Map to Supporting Files
Forecast File | [6 empty] | Report Year
ComMaster Version | 2020-07-31 | [5 empty] | 2041
[5 empty] | 0 | 0 | 0
| 1 | 2 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
M BUNDLE ID | Measure Index Name | File Name | Descriptive Name
| Pin Lamps - New | Lighting | Lighting
| Pin Lamps - NR | Lighting | Lighting
| Lamps - NR | Lighting | Lighting
| Dishwasher - New | Dishwasher | Dishwasher
| Dishwasher - NR | Dishwasher | Dishwasher
| Clothes Washer - New | Clothes Washer | Clothes Washer
| Clothes Washer - NR | Clothes Washer | Clothes Washer
| WasteWater Heat Recovery - New | GFX | GFX
| Showerheads - New | Showerheads | Showerheads
| Showerheads - NR | Showerheads | Showerheads
| TSRV - New | TSRV | Thermostatic Restriction Valves
| TSRV - Retro | TSRV | Thermostatic Restriction Valves
| HPWH - New | HPWH | Heat pump water heaters
| HPWH - NR | HPWH | Heat pump water heaters
| Aerator - New | Aerator | Aerator
| Aerator - Retro | Aerator | Aerator
| WH Pipe insulation - New | Pipe Insulation | Water heater pipe insulation
| WH Pipe insulation - Retro | Pipe Insulation | Water heater pipe insulation
| Circulators - New | CircPumps | Circulator pumps
| Circulators - NR | CircPumps | Circulator pumps
| Clothes Dryer - New | Dryer | Clothes Dryer
| Clothes Dryer - NR | Dryer | Clothes Dryer
| Refrigerator - New | FridgeFreezer | Refrigerator
| Refrigerator - NR | FridgeFreezer | Refrigerator
| Freezer - New | FridgeFreezer | Freezer
| Freezer - NR | FridgeFreezer | Freezer
| Electric Oven - New | Oven | Oven
| Electric Oven - NR | Oven | Oven
| Microwave - New | Microwave | Microwave
| Microwave - NR | Microwave | Microwave
| Monitor - New | Monitor | Computer Monitor
| Monitor - NR | Monitor | Computer Monitor
| Desktop - New | Computers | Desktop computer
| Desktop - NR | Computers | Desktop computer
| Laptop - New | Computers | Laptop computer
| Laptop - NR | Computers | Laptop computer
Computer - New
Computer - NR
| Advanced Power Strips - New | Adv Powerstrips | Advanced power strips
| Advanced Power Strips - Retro | Adv Powerstrips | Advanced power strips
| UHD TV - New | TVs | Ultrahigh def TVs
| UHD TV - NR | TVs | Ultrahigh def TVs
| Fixtures - New | Lighting | Integral lightings fixtures
| Fixtures - NR | Lighting | Integral lightings fixtures
| ASHP Upgrade - New | ASHP | Air source heat pump upgrades
| ASHP Upgrade - NR | ASHP | Air source heat pump upgrades
| ASHP Conversion - New | ASHP | Air source heat pump conversions
| ASHP Conversion - Retro | ASHP | Air source heat pump conversions
| DHP - New | DHPZonalMF/DHPZonalSFMH | Ductless heat pumps for zonal applications
| DHP - Retro | DHPZonalMF/DHPZonalSFMH | Ductless heat pumps for zonal applications
| DHP Ducted - Retro | DHPforFAF | Ductless heat pumps with furnace
| Duct Sealing - New | DuctSeal | Sealing leaky ducts
| Duct Sealing - Retro | DuctSeal | Sealing leaky ducts
| Smart tstats - New | Tstats | Smart thermostats
| Smart tstats - Retro | Tstats | Smart thermostats
| Cellular Shades - New | CellularShades | Cellular window shades
| Cellular Shades - Retro | CellularShades | Cellular window shades
| CAC - New | CAC | Central air conditioner
| CAC - NR | CAC | Central air conditioner
| Heat Recovery Ventilation - New | HRV | heat recovery ventilation and air sealing
| GSHP - New | GSHP | Ground source heat pump
| GSHP - NR | GSHP | Ground source heat pump
| Whole House Fan - Retro | Whole House Fan | Whole House Fan
| Whole House Fan - New | Whole House Fan | Whole House Fan
| Circulator Controls - New | CircPumps | Controls on circulator pumps
| Circulator Controls - NR | CircPumps | Controls on circulator pumps
| Behavior - Retro | Behavior | Home energy report savings
| Behavior - New | Behavior | Home energy report savings
| EV Supply Equip - New | EVSE | Electric vehicle chargers
| EV Supply Equip - NR | EVSE | Electric vehicle chargers
| Air cleaners - New | Air Cleaner | Air cleaners
| Air cleaners - NR | Air Cleaner | Air cleaners
| RAC - New | RAC | Room air conditioners
| RAC - NR | RAC | Room air conditioners
| Well Pump - New | Well pump | Well pump
| Well Pump - NR | Well Pump | Well pump
| ResWx - Retro | SFWx, MFWx, MHWx | Insulation, windows
Floor - R0 to R22

## APPLIC
APPLIC | Product of Feasibility & (1-Baseline Saturation) |  | Q:\Eighth Plan\Conservation Analysis\Residential\[Res_Master2021P.xlsx]TURN
| 1 | 2 | 3 | 4 | 5
M BUNDLE ID | Measure Index Name | Single Family | Multifamily - Low Rise | Multifamily - High Rise | Manufactured | Source
| Pin Lamps - New | 99% | 99% | 99% | 99%
| Pin Lamps - NR | 99% | 99% | 99% | 99%
| Lamps - NR | 39% | 39% | 39% | 39%
| Dishwasher - New | 9.9% | 9.9% | 9.9% | 9.9%
| Dishwasher - NR | 9.9% | 9.9% | 9.9% | 9.9%
| Clothes Washer - New | 99% | 99% | 99% | 99%
| Clothes Washer - NR | 99% | 99% | 99% | 99%
| WasteWater Heat Recovery - New | 79.6% | 79.6% | 19.9% | 0%
| Showerheads - New | 52.25% | 38% | 22.8% | 56.05%
| Showerheads - NR | 45.6% | 39.9% | 26.6% | 54.15%
| TSRV - New | 94.05% | 94.05% | 94.05% | 94.05%
| TSRV - Retro | 94.05% | 94.05% | 94.05% | 94.05%
| HPWH - New | 89.1% | 54% | 18% | 67.5%
| HPWH - NR | 91.69% | 50% | 0% | 72.38%
| Aerator - New | 95% | 95% | 95% | 95%
| Aerator - Retro | 85% | 85% | 85% | 85%
| WH Pipe insulation - New | 0% | 0% | 0% | 0%
| WH Pipe insulation - Retro | 74.1% | 87.4% | 87.4% | 78.85%
| Circulators - New | 0% | 0% | 0% | 0%
| Circulators - NR | 0% | 0% | 0% | 0%
| Clothes Dryer - New | 95% | 95% | 95% | 95%
| Clothes Dryer - NR | 95% | 95% | 95% | 95%
| Refrigerator - New | 99% | 99% | 99% | 99%
| Refrigerator - NR | 99% | 99% | 99% | 99%
| Freezer - New | 99% | 99% | 99% | 99%
| Freezer - NR | 99% | 99% | 99% | 99%
| Electric Oven - New | 95% | 95% | 95% | 95%
| Electric Oven - NR | 95% | 95% | 95% | 95%
| Microwave - New | 98.01% | 98.01% | 98.01% | 98.01%
| Microwave - NR | 98.01% | 98.01% | 98.01% | 98.01%
| Monitor - New | 74% | 74% | 74% | 74%
| Monitor - NR | 74% | 74% | 74% | 74%
| Desktop - New | 95% | 95% | 95% | 95%
| Desktop - NR | 95% | 95% | 95% | 95%
| Laptop - New | 95% | 95% | 95% | 95%
| Laptop - NR | 95% | 95% | 95% | 95%
| Advanced Power Strips - New | 33.25% | 24.22% | 24.88% | 24.55%
| Advanced Power Strips - Retro | 33.25% | 24.22% | 24.88% | 24.55%
| UHD TV - New | 88% | 88% | 88% | 88%
| UHD TV - NR | 88% | 88% | 88% | 88%
| Fixtures - New | 99% | 99% | 99% | 99%
| Fixtures - NR | 99% | 99% | 99% | 99%
| ASHP Upgrade - New | 99% | 0% | 0% | 99%
| ASHP Upgrade - NR | 80% | 0% | 0% | 70%
| ASHP Conversion - New | 95% | 0% | 0% | 95%
| ASHP Conversion - Retro | 90% | 0% | 0% | 90%
| DHP - New | 0% | 0% | 0% | 0%
| DHP - Retro | 18.68% | 0% | 0% | 1.097%
| DHP Ducted - Retro | 19.96% | 0% | 0% | 29.94%
| Duct Sealing - New | 39.9% | 95% | 95% | 47.5%
| Duct Sealing - Retro | 39.9% | 95% | 95% | 47.5%
| Smart tstats - New | 85.19% | 99% | 0% | 97.96%
| Smart tstats - Retro | 68.84% | 80% | 0% | 79.16%
| Cellular Shades - New | 79.2% | 79.2% | 0% | 79.2%
| Cellular Shades - Retro | 72% | 72% | 0% | 72%
| CAC - New | 99% | 0% | 0% | 99%
| CAC - NR | 99% | 0% | 0% | 99%
| Heat Recovery Ventilation - New | 94.05% | 0% | 0% | 0%
| GSHP - New | 12% | 0% | 0% | 0%
| GSHP - NR | 12% | 0% | 0% | 0%
| Whole House Fan - Retro | 58.28% | 0% | 0% | 57.77%
| Whole House Fan - New | 87.42% | 0% | 0% | 86.66%
| Circulator Controls - New | 0% | 0% | 0% | 0%
| Circulator Controls - NR | 0% | 0% | 0% | 0%
| Behavior - Retro | 50% | 50% | 50% | 50%
| Behavior - New | 50% | 50% | 50% | 50%
| EV Supply Equip - New | 80% | 80% | 80% | 80%
| EV Supply Equip - NR | 80% | 80% | 80% | 80%
| Air cleaners - New | 99% | 99% | 99% | 99%
| Air cleaners - NR | 99% | 99% | 99% | 99%
| RAC - New | 99% | 99% | 99% | 99%
| RAC - NR | 99% | 99% | 99% | 99%
| Well Pump - New | 87.12% | 99% | 99% | 87.12%
| Well Pump - NR | 87.12% | 99% | 99% | 87.12%
| ResWx - Retro | 95% | 95% | 95% | 100%

## FEAS
APPLIC | Fraction of units where measure is technically feasible |  | Q:\Eighth Plan\Conservation Analysis\Residential\[Res_Master2021P.xlsx]TURN
| 1 | 2 | 3 | 4 | 5
M BUNDLE ID | Measure Index Name | Single Family | Multifamily - Low Rise | Multifamily - High Rise | Manufactured | Source
| Pin Lamps - New | 99% | 99% | 99% | 99% | Assumption, LEDs available in nearly all configurations
| Pin Lamps - NR | 99% | 99% | 99% | 99% | Assumption, LEDs available in nearly all configurations
| Lamps - NR | 99% | 99% | 99% | 99% | Assumption, LEDs available in nearly all configurations
| Dishwasher - New | 99% | 99% | 99% | 99% | Assumption
| Dishwasher - NR | 99% | 99% | 99% | 99% | Assumption
| Clothes Washer - New | 99% | 99% | 99% | 99% | Assumption
| Clothes Washer - NR | 99% | 99% | 99% | 99% | Assumption
| WasteWater Heat Recovery - New | 80% | 80% | 20% | 0% | Assumption
| Showerheads - New | 95% | 95% | 95% | 95% | Assumption
| Showerheads - NR | 95% | 95% | 95% | 95% | Assumption
| TSRV - New | 95% | 95% | 95% | 95% | Assumption
| TSRV - Retro | 95% | 95% | 95% | 95% | Assumption
| HPWH - New | 99% | 60% | 20% | 75% | Exclude HPWH from high-rise MF due to space issues, limit applicability in low-rise (though in WA require MF to have space for HPWH). MH often have space constraints
| HPWH - NR | 95% | 50% | 0% | 75% | Assumption for MH & SF (MH based on discussion w Ben Larson). Less than new as some homes may not have space for HPWH, more MH have constrained space
| Aerator - New | 95% | 95% | 95% | 95% | Assumption
| Aerator - Retro | 85% | 85% | 85% | 85% | Assumption, fewer than new as some faucets can't be retrofitted
| WH Pipe insulation - New | 99% | 99% | 99% | 99% | Assumption, minimum constraints
| WH Pipe insulation - Retro | 95% | 95% | 95% | 95% | Assumption, minimum constraints. Note MF-high rise only includes in-unit WH
Circulators - New
Circulators - NR
| Clothes Dryer - New | 95% | 95% | 95% | 95% | Assumption, no known constraint. In fact, ventless options would likely work better in MF
| Clothes Dryer - NR | 95% | 95% | 95% | 95% | Assumption, no known constraint. In fact, ventless options would likely work better in MF
| Refrigerator - New | 99% | 99% | 99% | 99% | assumption, no known constraint
| Refrigerator - NR | 99% | 99% | 99% | 99% | assumption, no known constraint
| Freezer - New | 99% | 99% | 99% | 99% | assumption, no known constraint
| Freezer - NR | 99% | 99% | 99% | 99% | assumption, no known constraint
| Electric Oven - New | 95% | 95% | 95% | 95% | assumption, no known constraint
| Electric Oven - NR | 95% | 95% | 95% | 95% | assumption, no known constraint
| Microwave - New | 99% | 99% | 99% | 99% | assumption, no known constraint
| Microwave - NR | 99% | 99% | 99% | 99% | assumption, no known constraint
| Monitor - New | 100% | 100% | 100% | 100% | no constraint
| Monitor - NR | 100% | 100% | 100% | 100% | no constraint
| Desktop - New | 100% | 100% | 100% | 100% | no constraint
| Desktop - NR | 100% | 100% | 100% | 100% | no constraint
| Laptop - New | 100% | 100% | 100% | 100% | no constraint
| Laptop - NR | 100% | 100% | 100% | 100% | no constraint
| Advanced Power Strips - New | 34% | 25% | 25% | 25% | Assumption | Paper 9-270 Out of Control: Barriers to Smart Power Strip Implementation from http://aceee.org/files/proceedings/2010/start.htm
| Advanced Power Strips - Retro | 34% | 25% | 25% | 25% | Assumption | Paper 9-270 Out of Control: Barriers to Smart Power Strip Implementation from http://aceee.org/files/proceedings/2010/start.htm
| UHD TV - New | 100% | 100% | 100% | 100% | no constraint
| UHD TV - NR | 100% | 100% | 100% | 100% | no constraint
| Fixtures - New | 99% | 99% | 99% | 99% | Assumption, LED available in nearly all configurations
| Fixtures - NR | 99% | 99% | 99% | 99% | Assumption, LED available in nearly all configurations
| ASHP Upgrade - New | 99% |  |  | 99% | No known constraints
| ASHP Upgrade - NR | 80% |  |  | 70% | Completes with Faf-DHP option, allocation based on best guess
| ASHP Conversion - New | 95% | 0% | 0% | 95% | No significant constraints
| ASHP Conversion - Retro | 90% | 0% | 0% | 90% | Some homes have too small ducts to work with ASHP
| DHP - New | 9.359% | 0% | 0% | 1.099% | Using same as existing homes, though accounting for WA code precluding zonal in base (~50% of homes); for MF, most codes require something like DHPs, so excluding potential
| DHP - Retro | 18.72% | 0% | 0% | 1.099% | Based on % of homes with zonal electric heating RBSA II, High rise amount accounts for portion that are mid-rise and can take DHPs
| DHP Ducted - Retro | 20% |  |  | 30% | Completes with Faf-ASHP option, allocation based on best guess
| Duct Sealing - New | 95% | 95% | 95% | 95% | Assumption
| Duct Sealing - Retro | 95% | 95% | 95% | 95% | Assumption
| Smart tstats - New | 99% | 99% | 0% | 99% | In new homes, not likely any barriers. Excluding high rise MF as very limited central ducted systems
| Smart tstats - Retro | 80% | 80% | 0% | 80% | Assumption that existing homes may have wiring contraints, excluding highrise MF as very few central ducted systems
| Cellular Shades - New | 99% | 99% | 0% | 99% | In new homes, not likely any barriers. Excluding high rise MF and very limited knowledge on HVAC
| Cellular Shades - Retro | 90% | 90% | 0% | 90% | Assumption that existing homes may have some installation contraints, excluding highrise MF as very limited knowledge of HVAC systems
| CAC - New | 99% |  |  | 99% | No known constraints
| CAC - NR | 99% |  |  | 99% | No known constraints
| Heat Recovery Ventilation - New | 99% |  |  |  | No known constraints
| GSHP - New | 12% | 0% | 0% | 0% | Based on homes in rural areas
| GSHP - NR | 12% | 0 | 0 | 0 | Based on homes in rural areas
| Whole House Fan - Retro | 60% | 0% | 0% | 60% | Assumption, likely can't install in all houses and not MF. No data on constraints
| Whole House Fan - New | 90% | 0% | 0% | 90% | Assumption, with new homes, likely fewer constraints than retrofit applications
Circulator Controls - New
Circulator Controls - NR
| Behavior - Retro | 50% | 50% | 50% | 50% | Assume 50% could participate, 50% would be in control group
| Behavior - New | 50% | 50% | 50% | 50% | Assume 50% could participate, 50% would be in control group
| EV Supply Equip - New | 80% | 80% | 80% | 80% | Assumption, based on potential % of users installing level 2 chargers
| EV Supply Equip - NR | 80% | 80% | 80% | 80% | Assumption, based on potential % of users installing level 2 chargers
| Air cleaners - New | 99% | 99% | 99% | 99% | Assumption, no known constraints
| Air cleaners - NR | 99% | 99% | 99% | 99% | Assumption, no known constraints
| RAC - New | 99% | 99% | 99% | 99% | Assumption, no known constraints
| RAC - NR | 99% | 99% | 99% | 99% | Assumption, no known constraints
| Well Pump - New | 99% | 99% | 99% | 99% | Assumption, no known constraints
| Well Pump - NR | 99% | 99% | 99% | 99% | Assumption, no known constraints
| ResWx - Retro | 100% | 100% | 100% | 100% | Captured in applicability on measure workbooks

## BASE
BASE | Current Saturation of Measure
MEAS ID | Measure Index Name | Single Family | Multifamily - Low Rise | Multifamily - High Rise | Manufactured | Source | Lookup Value
| Pin Lamps - New | 0% | 0% | 0% | 0%
| Pin Lamps - NR | 0% | 0% | 0% | 0% | 0
| Lamps - NR | 60.61% | 60.61% | 60.61% | 60.61% | Baseline from % of bulbs captured through fixture turnover
| Dishwasher - New | 90% | 90% | 90% | 90% | ENERGY STAR 2018 unit shipment data
| Dishwasher - NR | 90% | 90% | 90% | 90% | ENERGY STAR 2018 unit shipment data
| Clothes Washer - New | 0% | 0% | 0% | 0% | Savings based on current practice baseline (NEEA market data)
| Clothes Washer - NR | 0% | 0% | 0% | 0% | Savings based on current practice baseline (NEEA market data)
| WasteWater Heat Recovery - New | 0.5% | 0.5% | 0.5% | 0.5% | Little data, but low saturation likely
| Showerheads - New | 45% | 60% | 76% | 41% | Exluding WA from potential due to new standard, so baseline is % of homes in WA
| Showerheads - NR | 52% | 58% | 72% | 43% | Exluding WA from potential due to new standard, so baseline is % of homes in WA
| TSRV - New | 1% | 1% | 1% | 1% | Assumption that few showerheads have these installed
| TSRV - Retro | 1% | 1% | 1% | 1% | Assumption that few showerheads have these installed
| HPWH - New | 10% | 10% | 10% | 10% | NEEA estimates from current market data (through 2018), accounting for (unkonwn) portion of sales that goes to NC. MF based on 2015 WA code providing more incentive for adoption
| HPWH - NR | 3.488% | 0% | 0% | 3.488% | NEEA estimates from current market data (through 2018), accounting for (unknown) portion of sales that goes to NC
| Aerator - New | 0% | 0% | 0% | 0% | Savings are based on current average flow
| Aerator - Retro | 0% | 0% | 0% | 0% | Savings are based on current average flow
| WH Pipe insulation - New | 100% | 100% | 100% | 100% | All states require some level of WH pipe insulation in code
| WH Pipe insulation - Retro | 22% | 8% | 8% | 17% | RBSA II
Circulators - New
Circulators - NR
| Clothes Dryer - New | 0% | 0% | 0% | 0% | Savings are based on current market
| Clothes Dryer - NR | 0% | 0% | 0% | 0% | Savings are based on current market
| Refrigerator - New | 0% | 0% | 0% | 0% | Savings are based on current market
| Refrigerator - NR | 0% | 0% | 0% | 0% | Savings are based on current market
| Freezer - New | 0% | 0% | 0% | 0% | Savings are based on current market
| Freezer - NR | 0% | 0% | 0% | 0% | Savings are based on current market
| Electric Oven - New | 0% | 0% | 0% | 0% | Savings are based on current market
| Electric Oven - NR | 0% | 0% | 0% | 0% | Savings are based on current market
| Microwave - New | 1% | 1% | 1% | 1% | Unable to find any efficient microwaves through websearch
| Microwave - NR | 1% | 1% | 1% | 1% | Unable to find any efficient microwaves through websearch
| Monitor - New | 26% | 26% | 26% | 26% | https://www.energystar.gov/sites/default/files/Draft%202%20Version%208.0%20Displays%20Webinar%20Slides_952018.pdf
| Monitor - NR | 26% | 26% | 26% | 26% | https://www.energystar.gov/sites/default/files/Draft%202%20Version%208.0%20Displays%20Webinar%20Slides_952018.pdf
| Desktop - New | 5% | 5% | 5% | 5% | New ENERGY STAR spec in effect 7/2020, so likely penetration is low
| Desktop - NR | 5% | 5% | 5% | 5% | New ENERGY STAR spec in effect 7/2020, so likely penetration is low
| Laptop - New | 5% | 5% | 5% | 5% | New ENERGY STAR spec in effect 7/2020, so likely penetration is low
| Laptop - NR | 5% | 5% | 5% | 5% | New ENERGY STAR spec in effect 7/2020, so likely penetration is low
| Advanced Power Strips - New | 2.2% | 3.1% | 0.5% | 1.8% | RBSA II
| Advanced Power Strips - Retro | 2.2% | 3.1% | 0.5% | 1.8% | RBSA II
| UHD TV - New | 12% | 12% | 12% | 12% | NEEA consumer product data as ESv7+20% at 12% in 2018
| UHD TV - NR | 12% | 12% | 12% | 12% | NEEA consumer product data as ESv7+20% at 12% in 2018
| Fixtures - New | 0% | 0% | 0% | 0% | Savings reflect current market share
| Fixtures - NR | 0% | 0% | 0% | 0% | Savings reflect current market share
| ASHP Upgrade - New | 0% | 0% | 0% | 0%
| ASHP Upgrade - NR | 0% | 0% | 0% | 0% | Baseline saturation captured in measure workbook
| ASHP Conversion - New | 0% | 0% | 0% | 0%
| ASHP Conversion - Retro | 0% | 0% | 0% | 0% | Baseline saturation captured in measure workbook
| DHP - New | 100% | 0 | 0 | 100% | although not 100%, given WA code requires and with more and more interest in cooling, likely few zonal electric resistance heat homes will be built in future
| DHP - Retro | 0.2% | 0.2% | 0.2% | 0.2% | Accounting for recent accomplishments since RBSA II
| DHP Ducted - Retro | 0.2% | 0.2% | 0.2% | 0.2% | Accounting for recent accomplishments since RBSA II
| Duct Sealing - New | 58% | 0% | 0% | 50% | From RBSA I, 45% of SF homes/56% of MH had >10% leakage (from 7P supply curve workbook), + accounting for accomplishments (~6 aMW)
| Duct Sealing - Retro | 58% | 0% | 0% | 50% | From RBSA I, 45% of SF homes/56% of MH had >10% leakage (from 7P supply curve workbook), + accounting for accomplishments (~6 aMW)
| Smart tstats - New | 13.95% | 0% | 0% | 1.05% | BPA analysis of RBSA data had 5.6% saturation, but recent projections suggest market is growing quickly - estimate 15%. 93% in SF, 7% in MH
| Smart tstats - Retro | 13.95% | 0% | 0% | 1.05% | BPA analysis of RBSA data had 5.6% saturation, but recent projections suggest market is growing quickly - estimate 15%. 93% in SF, 7% in MH
| Cellular Shades - New | 20% | 20% | 20% | 20% | Estimate from PNNL study that 20% of shades available are cellular blinds
| Cellular Shades - Retro | 20% | 20% | 20% | 20% | Estimate from PNNL study that 20% of shades available are cellular blinds
| CAC - New | 0% | 0% | 0% | 0% | Current practice baseline in savings estimate
| CAC - NR | 0% | 0% | 0% | 0% | Current practice baseline in savings estimate
| Heat Recovery Ventilation - New | 5% | 0% | 0 | 0 | Assumption - some homes built with HRV, but likely few
GSHP - New
GSHP - NR
| Whole House Fan - Retro | 2.869% | 0% | 0% | 3.713% | RBSA II
| Whole House Fan - New | 2.869% | 0% | 0% | 3.713% | Using same as existing
Circulator Controls - New
Circulator Controls - NR
| Behavior - Retro | 0% | 0% | 0% | 0% | Although there are ongoing programs, savings life is short so are basically starting from zero
| Behavior - New | 0% | 0% | 0% | 0% | Although there are ongoing programs, savings life is short so are basically starting from zero
| EV Supply Equip - New | 0% | 0% | 0% | 0%
| EV Supply Equip - NR | 0% | 0% | 0% | 0% | Savings reflect current market share
| Air cleaners - New | 0% | 0% | 0% | 0%
| Air cleaners - NR | 0% | 0% | 0% | 0% | Savings reflect current market share
| RAC - New | 0% | 0% | 0% | 0% | Savings reflect current market share
| RAC - NR | 0% | 0% | 0% | 0% | Savings reflect current market share
| Well Pump - New | 12% | 0% | 0% | 12% | Using RBSA data, VSD as proxy. Didn't break out SF & MH due to small sample size and large # of unknown
| Well Pump - NR | 12% | 0% | 0% | 12% | Using RBSA data, VSD as proxy. Didn't break out SF & MH due to small sample size and large # of unknown
| ResWx - Retro | 5% | 5% | 5% |  | NEED TO UPDATE BASED ON RBSA

## TURN
TURN | Natural Replacement (NR) Rate, Fraction of Applicable Measure-Specific Equipment in Existing Stock that is Replaced Annually, making the measure applicable at incremental costs and savings similar to New applications.
1 | 2 | 3 | 4 | 5 | 6 | 7
M BUNDLE ID | Measure Index Name | Single Family | Multifamily - Low Rise | Multifamily - High Rise | Manufactured | Non-Building Stock | Data Source | Baseline Measure Life | EE Measure Life
| Pin Lamps - New | 100% | 100% | 100% | 100% | 100% |  | 8 | 13.1
| Pin Lamps - NR | 12.5% | 12.5% | 12.5% | 12.5% | 12.5% |  | 8 | 13.1
| Lamps - NR | 8.333% | 8.333% | 8.333% | 8.333% | 8.333% |  | 12 | 12
| Dishwasher - New | 100% | 100% | 100% | 100% | 100% |  | 15.4 | 15.4
| Dishwasher - NR | 6.494% | 6.494% | 6.494% | 6.494% | 6.494% |  | 15.4 | 15.4 | from DOE TSD
| Clothes Washer - New | 100% | 100% | 100% | 100% | 100% |  | 14.2 | 14.2
| Clothes Washer - NR | 7.042% | 7.042% | 7.042% | 7.042% | 7.042% |  | 14.2 | 14.2
| WasteWater Heat Recovery - New | 100% | 100% | 100% | 100% | 100% |  | 20 | 20
| Showerheads - New | 100% | 100% | 100% | 100% | 100% |  | 10 | 10
| Showerheads - NR | 10% | 10% | 10% | 10% | 10% |  | 10 | 10
| TSRV - New | 100% | 100% | 100% | 100% | 100%
TSRV - Retro
| HPWH - New | 100% | 100% | 100% | 100% | 100% |  | 13 | 13
| HPWH - NR | 7.692% | 7.692% | 7.692% | 7.692% | 7.692% |  | 13 | 13
| Aerator - New | 100% | 100% | 100% | 100% | 100%
Aerator - Retro
WH Pipe insulation - New
WH Pipe insulation - Retro
| Circulators - New | 100% | 100% | 100% | 100% | 100% |  | 11.5 | 11.5
| Circulators - NR | 8.696% | 8.696% | 8.696% | 8.696% | 8.696% |  | 11.5 | 11.5
| Clothes Dryer - New | 100% | 100% | 100% | 100% | 100% |  | 12 | 12
| Clothes Dryer - NR | 8.333% | 8.333% | 8.333% | 8.333% | 8.333% |  | 12 | 12
| Refrigerator - New | 100% | 100% | 100% | 100% | 100% |  | 15 | 15
| Refrigerator - NR | 6.667% | 6.667% | 6.667% | 6.667% | 6.667% |  | 15 | 15
| Freezer - New | 100% | 100% | 100% | 100% | 100% |  | 22 | 22
| Freezer - NR | 4.545% | 4.545% | 4.545% | 4.545% | 4.545% |  | 22 | 22
| Electric Oven - New | 100% | 100% | 100% | 100% | 100% |  | 16 | 16 | DOE TSD
| Electric Oven - NR | 6.25% | 6.25% | 6.25% | 6.25% | 6.25% |  | 16 | 16
| Microwave - New | 100% | 100% | 100% | 100% | 100% |  | 11 | 11
| Microwave - NR | 9.091% | 9.091% | 9.091% | 9.091% | 9.091% |  | 11 | 11
| Monitor - New | 100% | 100% | 100% | 100% | 100% |  | 5 | 5
| Monitor - NR | 20% | 20% | 20% | 20% | 20% |  | 5 | 5
| Desktop - New | 100% | 100% | 100% | 100% | 100% |  | 7 | 7
| Desktop - NR | 14.29% | 14.29% | 14.29% | 14.29% | 14.29% |  | 7 | 7
| Laptop - New | 100% | 100% | 100% | 100% | 100% |  | 4 | 4
| Laptop - NR | 25% | 25% | 25% | 25% | 25% |  | 4 | 4
| Advanced Power Strips - New | 100% | 100% | 100% | 100% | 100% |  | 5 | 5
| Advanced Power Strips - Retro | [6 empty] | 5 | 5
| UHD TV - New | 100% | 100% | 100% | 100% | 100% |  | 7 | 7 | NEEA assumption
| UHD TV - NR | 14.29% | 14.29% | 14.29% | 14.29% | 14.29% |  | 7 | 7 | NEEA assumption
| Fixtures - New | 100% | 100% | 100% | 100% | 100% |  | 20 | 20
| Fixtures - NR | 5% | 5% | 5% | 5% | 5% |  | 20 | 20
| ASHP Upgrade - New | 100% | 100% | 100% | 100% | 100% |  | 18 | 18
| ASHP Upgrade - NR | 5.556% | 5.556% | 5.556% | 5.556% | 5.556% |  | 18 | 18
| ASHP Conversion - New | 100% | 100% | 100% | 100% | 100% |  | 18 | 18
| ASHP Conversion - Retro | [6 empty] | 18 | 18
| DHP - New | 100% | 100% | 100% | 100% | 100%
| DHP - Retro | [6 empty] | 22 | 15
| DHP Ducted - Retro | [7 empty] | 15
| Duct Sealing - New | 100% | 100% | 100% | 100% | 100% |  |  | 20
| Duct Sealing - Retro | [7 empty] | 20
| Smart tstats - New | 100% | 100% | 100% | 100% | 100% |  |  | 5
| Smart tstats - Retro | [7 empty] | 5
| Cellular Shades - New | 100% | 100% | 100% | 100% | 100% |  | 15 | 15 | Most products have a 10 year warranty, so x1.5 assumption for EUL
Cellular Shades - Retro
| CAC - New | 100% | 100% | 100% | 100% | 100% |  | 18 | 18
| CAC - NR | 5.556% | 5.556% | 5.556% | 5.556% | 5.556% |  | 18 | 18
| Heat Recovery Ventilation - New | 100% | 100% | 100% | 100% | 100% |  | 15 | 15 | 15 year lifetime based on " Demand Control Ventilation Using CO2 Sensors", pg. 19, by US Department of Energy Efficiency and Renewable Energy.
| GSHP - New | 100% | 100% | 100% | 100% | 100% |  | 20 | 20
| GSHP - NR | 5% | 5% | 5% | 5% | 5% |  | 20 | 20
Whole House Fan - Retro
| Circulator Controls - New | 100% | 100% | 100% | 100% | 100% |  | 11.5 | 11.5
| Circulator Controls - NR | 8.696% | 8.696% | 8.696% | 8.696% | 8.696% |  | 11.5 | 11.5
| Behavior - Retro | [6 empty] | 2 | 2
| Behavior - New | 100% | 100% | 100% | 100% | 100% |  | 2 | 2
| EV Supply Equip - New | 100% | 100% | 100% | 100% | 100%
| EV Supply Equip - NR | 100% | 100% | 100% | 100% | 100% |  | 1 | 1 | Although EVSE lasts 10 years, the existing stock is minimal, so turnover rate not applicable
| Air cleaners - New | 100% | 100% | 100% | 100% | 100% |  | 9 | 9
| Air cleaners - NR | 11.11% | 11.11% | 11.11% | 11.11% | 11.11% |  | 9 | 9 | Interpreting ENERGY STAR claims
| RAC - New | 100% | 100% | 100% | 100% | 100% |  | 9 | 9
| RAC - NR | 11.11% | 11.11% | 11.11% | 11.11% | 11.11% |  | 9 | 9
| Well Pump - New | 100% | 100% | 100% | 100% | 100% |  | 20 | 20
| Well Pump - NR | 5% | 5% | 5% | 5% | 5% |  | 20 | 20
| ResWx - Retro | [7 empty] | 45
Note on J8: Tina Jayaweera: Based on RTF SIW 4.0

## ACHIEV
ACHIEV | Fraction of Applicable Measure Available by Year | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% |  |  |  | MAX options
|  | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  |  |  | 60%
|  | LO1Slow | 0.5% | 0.769% | 1.679% | 3.16% | 5.407% | 8.625% | 13% | 18.68% | 25.7% | 33.98% | 43.26% | 53.14% | 63.06% | 72.42% | 80.64% | 87.33% | 92.33% | 96% | 98% | 99.6% |  |  |  | 85%
|  | LO50Fast | 45% | 66% | 80% | 89% | 94.95% | 97.93% | 99.25% | 99.78% | 99.98% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  |  |  | 95%
|  | LO20Fast | 22.12% | 37.62% | 48.36% | 56.72% | 64.04% | 70.38% | 75.81% | 80.42% | 84.31% | 87.58% | 90.3% | 92.42% | 94.07% | 95.36% | 96.36% | 97.14% | 97.75% | 98.4% | 98.9% | 99.6% |  |  |  | 100%
|  | LOEven20 | 5% | 10% | 15% | 20% | 25% | 30% | 35% | 40% | 45% | 50% | 55% | 60% | 65% | 70% | 75% | 80% | 85% | 90% | 95% | 100%
|  | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6%
|  | Retro12Med | 10.94% | 10.94% | 10.94% | 10.94% | 10.94% | 9.844% | 7.875% | 6.3% | 5.04% | 4.032% | 3.226% | 2.58% | 2.064% | 1.652% | 1.321% | 1.057% | 0.007209% | 0.002575% | 0.0008778% | 0.0002862% |  | 99.69%
|  | Retro5Med | 4.3% | 5.28% | 6.461% | 7.5% | 8.555% | 10% | 10.97% | 11.21% | 10.56% | 9.079% | 7.026% | 4.65% | 2.7% | 1.3% | 0.55% | 0.2% | 0.06247% | 0.01362% | 0.002238% | 0.0002686% |  | 100.4%
|  | Retro1Slow | 0.2564% | 0.5126% | 0.9102% | 1.48% | 2.247% | 3.218% | 4.378% | 5.675% | 7.02% | 8.278% | 9.287% | 9.88% | 9.921% | 9.352% | 8.223% | 6.8% | 5.2% | 3.6% | 2.3% | 1.5% |  | 100%
|  | Retro50Fast | 45% | 21% | 14% | 9% | 5.954% | 2.977% | 1.323% | 0.5292% | 0.1925% | 0.06415% | 0.01974% | 0.00564% | 0.001504% | 0.000376% | 8.847e-05% | 1.966e-05% | 4.139e-06% | 8.277e-07% | 1.577e-07% | 2.867e-08% |  | 100.1%
|  | Retro20Fast | 22.12% | 15.5% | 10.73% | 8.359% | 7.324% | 6.337% | 5.429% | 4.613% | 3.892% | 3.264% | 2.724% | 2.121% | 1.652% | 1.287% | 1.002% | 0.92% | 0.72% | 0.62% | 0.52% | 0.42% |  | 99.56%
|  | RetroEven20 | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% |  | 100%
|  | Retro3Slow | 0.5532% | 0.8696% | 1.739% | 3.044% | 4.734% | 6.628% | 8.436% | 9.842% | 10.6% | 10.6% | 9.892% | 8.656% | 7.128% | 5.544% | 4.085% | 2.86% | 1.906% | 1.213% | 0.7385% | 0.5% |  | 99.57%
End Use | Measure Index Name | Ramp | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | MAX |  |  | Data Source
Lighting | Pin Lamps - New | LO20Fast | 22.12% | 37.62% | 48.36% | 56.72% | 64.04% | 70.38% | 75.81% | 80.42% | 84.31% | 87.58% | 90.3% | 92.42% | 94.07% | 95.36% | 96.36% | 97.14% | 97.75% | 98.4% | 98.9% | 99.6% | 95% |  | TRUE
Lighting | Pin Lamps - NR | LO20Fast | 22.12% | 37.62% | 48.36% | 56.72% | 64.04% | 70.38% | 75.81% | 80.42% | 84.31% | 87.58% | 90.3% | 92.42% | 94.07% | 95.36% | 96.36% | 97.14% | 97.75% | 98.4% | 98.9% | 99.6% | 95% |  | TRUE
Lighting | Lamps - NR | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 95% |  | TRUE
Water Heating | Dishwasher - New | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 95% |  | TRUE
Water Heating | Dishwasher - NR | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 95% |  | TRUE
Water Heating | Clothes Washer - New | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 85% |  | TRUE
Water Heating | Clothes Washer - NR | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 85% |  | TRUE
Water Heating | WasteWater Heat Recovery - New | LO1Slow | 0.5% | 0.769% | 1.679% | 3.16% | 5.407% | 8.625% | 13% | 18.68% | 25.7% | 33.98% | 43.26% | 53.14% | 63.06% | 72.42% | 80.64% | 87.33% | 92.33% | 96% | 98% | 99.6% | 60% |  | TRUE
Water Heating | Showerheads - New | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 95% |  | TRUE
Water Heating | Showerheads - NR | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 95% |  | TRUE
Water Heating | TSRV - New | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 85% |  | TRUE
Water Heating | TSRV - Retro | Retro3Slow | 0.5532% | 0.8696% | 1.739% | 3.044% | 4.734% | 6.628% | 8.436% | 9.842% | 10.6% | 10.6% | 9.892% | 8.656% | 7.128% | 5.544% | 4.085% | 2.86% | 1.906% | 1.213% | 0.7385% | 0.5% | 85% |  | TRUE
Water Heating | HPWH - New | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 85% |  | TRUE
Water Heating | HPWH - NR | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 85% |  | TRUE
Water Heating | Aerator - New | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 85% |  | TRUE
Water Heating | Aerator - Retro | Retro12Med | 10.94% | 10.94% | 10.94% | 10.94% | 10.94% | 9.844% | 7.875% | 6.3% | 5.04% | 4.032% | 3.226% | 2.58% | 2.064% | 1.652% | 1.321% | 1.057% | 0.007209% | 0.002575% | 0.0008778% | 0.0002862% | 85% |  | TRUE
Water heating | WH Pipe insulation - New | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 95% |  | TRUE
Water heating | WH Pipe insulation - Retro | Retro3Slow | 0.5532% | 0.8696% | 1.739% | 3.044% | 4.734% | 6.628% | 8.436% | 9.842% | 10.6% | 10.6% | 9.892% | 8.656% | 7.128% | 5.544% | 4.085% | 2.86% | 1.906% | 1.213% | 0.7385% | 0.5% | 85% |  | TRUE
Water Heating | Circulators - New | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 95% |  | TRUE
Water Heating | Circulators - NR | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 95% |  | TRUE
Dryer | Clothes Dryer - New | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 95% |  | TRUE
Dryer | Clothes Dryer - NR | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 95% |  | TRUE
Refrigeration | Refrigerator - New | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 100% |  | TRUE
Refrigeration | Refrigerator - NR | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 100% |  | TRUE
Refrigeration | Freezer - New | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 100% |  | TRUE
Refrigeration | Freezer - NR | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 100% |  | TRUE
Food Preparation | Electric Oven - New | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 95% |  | TRUE
Food Preparation | Electric Oven - NR | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 95% |  | TRUE
Food Preparation | Microwave - New | LO1Slow | 0.5% | 0.769% | 1.679% | 3.16% | 5.407% | 8.625% | 13% | 18.68% | 25.7% | 33.98% | 43.26% | 53.14% | 63.06% | 72.42% | 80.64% | 87.33% | 92.33% | 96% | 98% | 99.6% | 95% |  | TRUE
Food Preparation | Microwave - NR | LO1Slow | 0.5% | 0.769% | 1.679% | 3.16% | 5.407% | 8.625% | 13% | 18.68% | 25.7% | 33.98% | 43.26% | 53.14% | 63.06% | 72.42% | 80.64% | 87.33% | 92.33% | 96% | 98% | 99.6% | 95% |  | TRUE
Electronics | Monitor - New | LO50Fast | 45% | 66% | 80% | 89% | 94.95% | 97.93% | 99.25% | 99.78% | 99.98% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | TRUE
Electronics | Monitor - NR | LO50Fast | 45% | 66% | 80% | 89% | 94.95% | 97.93% | 99.25% | 99.78% | 99.98% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | TRUE
Electronics | Desktop - New | LO50Fast | 45% | 66% | 80% | 89% | 94.95% | 97.93% | 99.25% | 99.78% | 99.98% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | TRUE
Electronics | Desktop - NR | LO50Fast | 45% | 66% | 80% | 89% | 94.95% | 97.93% | 99.25% | 99.78% | 99.98% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | TRUE
Electronics | Laptop - New | LO50Fast | 45% | 66% | 80% | 89% | 94.95% | 97.93% | 99.25% | 99.78% | 99.98% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | TRUE
Electronics | Laptop - NR | LO50Fast | 45% | 66% | 80% | 89% | 94.95% | 97.93% | 99.25% | 99.78% | 99.98% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | TRUE
Electronics | Computer - New | LO50Fast | 45% | 66% | 80% | 89% | 94.95% | 97.93% | 99.25% | 99.78% | 99.98% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | TRUE
Electronics | Computer - NR | LO50Fast | 45% | 66% | 80% | 89% | 94.95% | 97.93% | 99.25% | 99.78% | 99.98% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |  | TRUE
Electronics | Advanced Power Strips - New | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 85% |  | TRUE
Electronics | Advanced Power Strips - Retro | Retro3Slow | 0.5532% | 0.8696% | 1.739% | 3.044% | 4.734% | 6.628% | 8.436% | 9.842% | 10.6% | 10.6% | 9.892% | 8.656% | 7.128% | 5.544% | 4.085% | 2.86% | 1.906% | 1.213% | 0.7385% | 0.5% | 85% |  | TRUE
Electronics | UHD TV - New | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 95% |  | TRUE
Electronics | UHD TV - NR | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 95% |  | TRUE
Lighting | Fixtures - New | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 85% |  | TRUE
Lighting | Fixtures - NR | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 85% |  | TRUE
HVAC | ASHP Upgrade - New | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 95% |  | TRUE
HVAC | ASHP Upgrade - NR | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 95% |  | TRUE
HVAC | ASHP Conversion - New | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 95% |  | TRUE
HVAC | ASHP Conversion - Retro | Retro3Slow | 0.5532% | 0.8696% | 1.739% | 3.044% | 4.734% | 6.628% | 8.436% | 9.842% | 10.6% | 10.6% | 9.892% | 8.656% | 7.128% | 5.544% | 4.085% | 2.86% | 1.906% | 1.213% | 0.7385% | 0.5% | 95% |  | TRUE
HVAC | DHP - New | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 85% |  | TRUE
HVAC | DHP - Retro | Retro5Med | 4.3% | 5.28% | 6.461% | 7.5% | 8.555% | 10% | 10.97% | 11.21% | 10.56% | 9.079% | 7.026% | 4.65% | 2.7% | 1.3% | 0.55% | 0.2% | 0.06247% | 0.01362% | 0.002238% | 0.0002686% | 85% |  | TRUE
HVAC | DHP Ducted - Retro | Retro3Slow | 0.5532% | 0.8696% | 1.739% | 3.044% | 4.734% | 6.628% | 8.436% | 9.842% | 10.6% | 10.6% | 9.892% | 8.656% | 7.128% | 5.544% | 4.085% | 2.86% | 1.906% | 1.213% | 0.7385% | 0.5% | 85% |  | TRUE
HVAC | Duct Sealing - New | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 85% |  | TRUE
HVAC | Duct Sealing - Retro | Retro3Slow | 0.5532% | 0.8696% | 1.739% | 3.044% | 4.734% | 6.628% | 8.436% | 9.842% | 10.6% | 10.6% | 9.892% | 8.656% | 7.128% | 5.544% | 4.085% | 2.86% | 1.906% | 1.213% | 0.7385% | 0.5% | 85% |  | TRUE
HVAC | Smart tstats - New | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 85% |  | TRUE
HVAC | Smart tstats - Retro | Retro5Med | 4.3% | 5.28% | 6.461% | 7.5% | 8.555% | 10% | 10.97% | 11.21% | 10.56% | 9.079% | 7.026% | 4.65% | 2.7% | 1.3% | 0.55% | 0.2% | 0.06247% | 0.01362% | 0.002238% | 0.0002686% | 85% |  | TRUE
HVAC | Cellular Shades - New | LO1Slow | 0.5% | 0.769% | 1.679% | 3.16% | 5.407% | 8.625% | 13% | 18.68% | 25.7% | 33.98% | 43.26% | 53.14% | 63.06% | 72.42% | 80.64% | 87.33% | 92.33% | 96% | 98% | 99.6% | 85% |  | TRUE
HVAC | Cellular Shades - Retro | Retro1Slow | 0.2564% | 0.5126% | 0.9102% | 1.48% | 2.247% | 3.218% | 4.378% | 5.675% | 7.02% | 8.278% | 9.287% | 9.88% | 9.921% | 9.352% | 8.223% | 6.8% | 5.2% | 3.6% | 2.3% | 1.5% | 85% |  | TRUE
HVAC | CAC - New | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 95% |  | TRUE
HVAC | CAC - NR | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 95% |  | TRUE
HVAC | Heat Recovery Ventilation - New | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 85% |  | TRUE
HVAC | GSHP - New | LO1Slow | 0.5% | 0.769% | 1.679% | 3.16% | 5.407% | 8.625% | 13% | 18.68% | 25.7% | 33.98% | 43.26% | 53.14% | 63.06% | 72.42% | 80.64% | 87.33% | 92.33% | 96% | 98% | 99.6% | 85% |  | TRUE
HVAC | GSHP - NR | LO1Slow | 0.5% | 0.769% | 1.679% | 3.16% | 5.407% | 8.625% | 13% | 18.68% | 25.7% | 33.98% | 43.26% | 53.14% | 63.06% | 72.42% | 80.64% | 87.33% | 92.33% | 96% | 98% | 99.6% | 85% |  | TRUE
HVAC | Whole House Fan - Retro | Retro1Slow | 0.2564% | 0.5126% | 0.9102% | 1.48% | 2.247% | 3.218% | 4.378% | 5.675% | 7.02% | 8.278% | 9.287% | 9.88% | 9.921% | 9.352% | 8.223% | 6.8% | 5.2% | 3.6% | 2.3% | 1.5% | 85% |  | TRUE
HVAC | Whole House Fan - New | LO1Slow | 0.5% | 0.769% | 1.679% | 3.16% | 5.407% | 8.625% | 13% | 18.68% | 25.7% | 33.98% | 43.26% | 53.14% | 63.06% | 72.42% | 80.64% | 87.33% | 92.33% | 96% | 98% | 99.6% | 85% |  | TRUE
Water Heating | Circulator Controls - New | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 85% |  | TRUE
Water Heating | Circulator Controls - NR | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 85% |  | TRUE
Whole Bldg/Meter Level | Behavior - Retro | Retro3Slow | 0.5532% | 0.8696% | 1.739% | 3.044% | 4.734% | 6.628% | 8.436% | 9.842% | 10.6% | 10.6% | 9.892% | 8.656% | 7.128% | 5.544% | 4.085% | 2.86% | 1.906% | 1.213% | 0.7385% | 0.5% | 85% |  | TRUE
Whole Bldg/Meter Level | Behavior - New | LO3Slow | 0.5532% | 1.423% | 3.162% | 6.206% | 10.94% | 17.57% | 26% | 35.85% | 46.44% | 57.04% | 66.94% | 75.59% | 82.72% | 88.26% | 92.35% | 95.21% | 97.12% | 98.33% | 99.07% | 99.6% | 85% |  | TRUE
Whole Bldg/Meter Level | EV Supply Equip - New | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 95% |  | TRUE
Whole Bldg/Meter Level | EV Supply Equip - NR | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 95% |  | TRUE
Other | Air cleaners - New | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 95% |  | TRUE
Other | Air cleaners - NR | LO5Med | 4.3% | 9.58% | 16.04% | 23.54% | 32.1% | 42.1% | 53.07% | 64.28% | 74.84% | 83.92% | 90.95% | 95.77% | 98.65% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 95% |  | TRUE
HVAC | RAC - New | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 95% |  | TRUE
HVAC | RAC - NR | LO12Med | 10.94% | 21.87% | 32.81% | 43.75% | 54.69% | 64.53% | 72.41% | 78.71% | 83.75% | 87.78% | 91% | 93.58% | 95.65% | 97.3% | 98.62% | 99.68% | 99.69% | 99.69% | 99.69% | 99.69% | 95% |  | TRUE
Other | Well Pump - New | LO1Slow | 0.5% | 0.769% | 1.679% | 3.16% | 5.407% | 8.625% | 13% | 18.68% | 25.7% | 33.98% | 43.26% | 53.14% | 63.06% | 72.42% | 80.64% | 87.33% | 92.33% | 96% | 98% | 99.6% | 95%
Other | Well Pump - NR | LO1Slow | 0.5% | 0.769% | 1.679% | 3.16% | 5.407% | 8.625% | 13% | 18.68% | 25.7% | 33.98% | 43.26% | 53.14% | 63.06% | 72.42% | 80.64% | 87.33% | 92.33% | 96% | 98% | 99.6% | 95%
HVAC | ResWx - Retro | Retro5Med | 4.3% | 5.28% | 6.461% | 7.5% | 8.555% | 10% | 10.97% | 11.21% | 10.56% | 9.079% | 7.026% | 4.65% | 2.7% | 1.3% | 0.55% | 0.2% | 0.06247% | 0.01362% | 0.002238% | 0.0002686% | 85% |  | TRUE
0
0

## SATS
Measure Saturations by Buiding Type
Enter New Characteristics on the "VARS" tab.
Existing | All Cohorts RBSA 2016 | BLDGTYPE
| Vars | Single Family | Multifamily - Low Rise | Multifamily - High Rise | Manufactured | REGION |  |  | Single Family | Multifamily - Low Rise | Multifamily - High Rise | Manufactured
| Electric FAF - HZ1CZ1 |  |  |  |  | 0% |  | % of region | 70.16% | 15.85% | 4.689% | 9.308%
| Electric FAF - HZ1CZ23 |  |  |  |  | 0%
| Electric FAF - HZ23CZ1 |  |  |  |  | 0%
| Electric FAF - HZ23CZ23 |  |  |  |  | 0%
| Electric FAF - HZ1 |  |  |  |  | 0%
| Electric FAF - HZ23 |  |  |  |  | 0% |  |  |  | Single Family | 4418134.3544
| Electric FAF - Region |  |  |  |  | 0% |  |  |  | Multifamily - Low Rise | 997938.2073
| Electric FAF w/ CAC - HZ1CZ1 |  |  |  |  | 0% |  |  |  | Multifamily - High Rise | 295302.0937
| Electric FAF w/ CAC - HZ1CZ23 |  |  |  |  | 0% |  |  |  | Manufactured | 586202.0343
| Electric FAF w/ CAC - HZ23CZ1 |  |  |  |  | 0%
| Electric FAF w/ CAC - HZ23CZ23 |  |  |  |  | 0%
| Heat Pump - HZ1CZ1 |  |  |  |  | 0%
| Heat Pump - HZ1CZ23 |  |  |  |  | 0%
| Heat Pump - HZ23CZ1 |  |  |  |  | 0%
| Heat Pump - HZ23CZ23 |  |  |  |  | 0%
| Heat Pump - HZ1 |  |  |  |  | 0%
| Heat Pump - HZ23 |  |  |  |  | 0%
| Heat Pump - Region |  |  |  |  | 0%
| Electric Zonal - HZ1CZ1 |  |  |  |  | 0%
| Electric Zonal - HZ1CZ23 |  |  |  |  | 0%
| Electric Zonal - HZ23CZ1 |  |  |  |  | 0%
| Electric Zonal - HZ23CZ23 |  |  |  |  | 0%
| Electric Zonal - HZ1 |  |  |  |  | 0%
| Electric Zonal - HZ23 |  |  |  |  | 0%
| Electric Zonal - Region |  |  |  |  | 0%
| DHP - HZ1CZ1 |  |  |  |  | 0%
| DHP - HZ1CZ23 |  |  |  |  | 0%
| DHP - HZ23CZ1 |  |  |  |  | 0%
| DHP - HZ23CZ23 |  |  |  |  | 0%
| DHP - HZ1 |  |  |  |  | 0%
| DHP - HZ23 |  |  |  |  | 0%
| DHP - Region |  |  |  |  | 0%
| Central AC - CZ1 |  |  |  |  | 0%
| Central AC - CZ23 |  |  |  |  | 0%
| Room A/C - CZ1 |  |  |  |  | 0%
| Room A/C - CZ23 |  |  |  |  | 0%
| Electric WH | 49% | 62.22% | 9.333% | 82% | 52.31% | MF represents in-unit only (product of % in-unit and % electric). Midrise is 27.5% of MF, high-rise is 4.3% of MF units
| DHW inside | 15.19% | 52.88% | 7.933% | 63.96% | 25.36% | From RBSA (Mechanical_WaterHeater), counting "unknown" as buffer
| DHW buffer | 34.01% | 9.581% | 1.419% | 18.2% | 27.14% | From RBSA (Mechanical_WaterHeater), counting "unknown" as buffer
| 0 |  |  |  |  | 0%
0%
0%
0%
| Refrigerator | 137.5% | 104% | 104% | 117% | 128.7% | Added 3.5% more units to SF to reflect ~11000/year going to commercial spaces
| Freezer | 39% | 0.05% | 0.05% | 43% | 31.37%
| Clothes Washer | 96% | 52% | 51.6% | 96% | 86.95% | % dryer * % electric; MF represent in-unit + common area (from RBSA I, about 0.06 washers per MF unit) |  | Table 20. Average Number of Common Area Clothes Washers per Unit by Building Size
| Clothes Dryer | 86.48% | 49.47% | 50.6% | 90.71% | 79.33% | MF represent in-unit + common area (from RBSA I, about 0.06 washers per MF unit) |  | Building Size | Clothes Washers Per Unit | 0 | 0
| Dishwasher | 83.74% | 68.47% | 68.47% | 83.97% | 80.63% |  |  | 0 | Mean | EB | n
| Microwave | 95.53% | 95.53% | 95.53% | 95.53% | 95.53% | Based on 2015 RECS as RBSA did not collect |  | Low-Rise (1–3) | 0.061114 | 0.011227 | 151
| Electric Oven | 79.3% | 96.7% | 96.7% | 90.6% | 83.93% |  |  | Mid-Rise (4–6) | 0.028767 | 0.0066418 | 55
| UHD TV | 157.5% | 105% | 105% | 144.8% | 145.5% | This represents 75% of all TVs, since UHD only applies to >40" (representing ~3/4 of all TVs) |  | High-Rise (7+) | 0.041105 | 0.013175 | 24
| Set top box |  |  |  |  | 0% |  |  | Total | 0.055975 | 0.0093186 | 230
| Computer | 125.4% | 74.27% | 74.27% | 103.7% | 112.9%
| Monitor | 137.1% | 77.89% | 77.89% | 111.2% | 122.5%
| 0 |  |  |  |  | 0%
| Duct | 431.2715
| Wall | 1284.2376 | 505 | 505 | 1233.3805 |  | sqft
| Attic | 1215.2599 | 324 | 324 | 1283.6448 |  | sqft
| Floor | 1170.4041 | 324 | 324 | 1260.8751 |  | sqft
| Window | 178.7543 | 90.9 | 90.9 | 154.1325 |  | sqft - window to wall area of 0.18 from RBSA II
| Home | 1452.0153 | 796 | 796 | 1261.598 |  | sqft
| Lamps | 61.3 | 20.2 | 20.2 | 38.5 | 50.7376 | RBSA II
| Fixtures | 40.4 | 13.1 | 13.1 | 24.5 | 33.3138 | RBSA II
| Linear | 3.9845 | 1.4 | 1.4 | 2.772 | 3.3409
New | FORECAST | BLDGTYPE | Not differentiating between existing and new, given lack of data
| Vars | Single Family | Multifamily - Low Rise | Multifamily - High Rise | Manufactured
| Electric FAF - HZ1CZ1 | 0% | 0% | 0% | 0%
| Electric FAF - HZ1CZ23 | 0% | 0% | 0% | 0%
| Electric FAF - HZ23CZ1 | 0% | 0% | 0% | 0%
| Electric FAF - HZ23CZ23 | 0% | 0% | 0% | 0%
| Electric FAF - HZ1 | 0% | 0% | 0% | 0%
| Electric FAF - HZ23 | 0% | 0% | 0% | 0%
| Electric FAF - Region | 0% | 0% | 0% | 0%
| Electric FAF w/ CAC - HZ1CZ1 | 0% | 0% | 0% | 0%
| Electric FAF w/ CAC - HZ1CZ23 | 0% | 0% | 0% | 0%
| Electric FAF w/ CAC - HZ23CZ1 | 0% | 0% | 0% | 0%
| Electric FAF w/ CAC - HZ23CZ23 | 0% | 0% | 0% | 0%
| Heat Pump - HZ1CZ1 | 0% | 0% | 0% | 0%
| Heat Pump - HZ1CZ23 | 0% | 0% | 0% | 0%
| Heat Pump - HZ23CZ1 | 0% | 0% | 0% | 0%
| Heat Pump - HZ23CZ23 | 0% | 0% | 0% | 0%
| Heat Pump - HZ1 | 0% | 0% | 0% | 0%
| Heat Pump - HZ23 | 0% | 0% | 0% | 0%
| Heat Pump - Region | 0% | 0% | 0% | 0%
| Electric Zonal - HZ1CZ1 | 0% | 0% | 0% | 0%
| Electric Zonal - HZ1CZ23 | 0% | 0% | 0% | 0%
| Electric Zonal - HZ23CZ1 | 0% | 0% | 0% | 0%
| Electric Zonal - HZ23CZ23 | 0% | 0% | 0% | 0%
| Electric Zonal - HZ1 | 0% | 0% | 0% | 0%
| Electric Zonal - HZ23 | 0% | 0% | 0% | 0%
| Electric Zonal - Region | 0% | 0% | 0% | 0%
| DHP - HZ1CZ1 | 0% | 0% | 0% | 0%
| DHP - HZ1CZ23 | 0% | 0% | 0% | 0%
| DHP - HZ23CZ1 | 0% | 0% | 0% | 0%
| DHP - HZ23CZ23 | 0% | 0% | 0% | 0%
| DHP - HZ1 | 0% | 0% | 0% | 0%
| DHP - HZ23 | 0% | 0% | 0% | 0%
| DHP - Region | 0% | 0% | 0% | 0%
| Central AC - CZ1 | 0% | 0% | 0% | 0%
| Central AC - CZ23 | 0% | 0% | 0% | 0%
| Room A/C - CZ1 | 0% | 0% | 0% | 0%
| Room A/C - CZ23 | 0% | 0% | 0% | 0%
| Electric WH | 49% | 62.22% | 9.333% | 82%
| DHW inside | 15.19% | 52.88% | 7.933% | 63.96%
| DHW buffer | 34.01% | 9.581% | 1.419% | 18.2%
| Refrigerator | 137.5% | 104% | 104% | 117%
| Freezer | 39% | 0.05% | 0.05% | 43%
| Clothes Washer | 96% | 52% | 51.6% | 96%
| Clothes Dryer | 86.48% | 49.47% | 50.6% | 90.71%
| Dishwasher | 83.74% | 68.47% | 68.47% | 83.97%
| Microwave | 95.53% | 95.53% | 95.53% | 95.53%
| Electric Oven | 79.3% | 96.7% | 96.7% | 90.6%
| UHD TV | 157.5% | 105% | 105% | 144.8%
| Set top box | 0% | 0% | 0% | 0%
| Computer | 125.4% | 74.27% | 74.27% | 103.7%
| Monitor | 137.1% | 77.89% | 77.89% | 111.2%
|  | 0 | 0 | 0 | 0
| Duct | 431.2715 | 0 | 0 | 0
| Wall | 1284.2376 | 505 | 505 | 1233.3805
| Attic | 1215.2599 | 324 | 324 | 1283.6448
| Floor | 1170.4041 | 324 | 324 | 1260.8751 | 1005.012 | RBSA II
| Window | 178.7543 | 90.9 | 90.9 | 154.1325 | 158.421
| Home | 1452.0153 | 796 | 796 | 1261.598
| Lamps | 61.3 | 20.2 | 20.2 | 38.5
| Fixtures | 40.4 | 13.1 | 13.1 | 24.5
| Linear | 3.9845 | 1.4 | 1.4 | 2.772

## Vars
VARS | Variable Names used in Characteristics data
Variable Name | Definition | Row
Electric FAF - HZ1CZ1 | forced air furnace saturation in heating zone 1 cooling zone 1
Electric FAF - HZ1CZ23 | forced air furnace saturation in heating zone 1 cooling zone 2&3
Electric FAF - HZ23CZ1 | forced air furnace saturation in heating zone 2&3 cooling zone 1
Electric FAF - HZ23CZ23 | forced air furnace saturation in heating zone 2&3 cooling zone 2&3
Electric FAF - HZ1 | forced air furnace saturation in heating zone 1
Electric FAF - HZ23 | forced air furnace saturation in heating zone 2&3
Electric FAF - Region | forced air furnace saturation across region
Electric FAF w/ CAC - HZ1CZ1 | forced air furnace saturation w/CAC in heating zone 1 cooling zone 1
Electric FAF w/ CAC - HZ1CZ23 | forced air furnace saturation w/CAC in heating zone 1 cooling zone 2&3
Electric FAF w/ CAC - HZ23CZ1 | forced air furnace saturation w/CAC in heating zone 2&3 cooling zone 1
Electric FAF w/ CAC - HZ23CZ23 | forced air furnace saturation w/CAC in heating zone 2&3 cooling zone 2&3
Heat Pump - HZ1CZ1 | air source heat pump saturation in heating zone 1 cooling zone 1
Heat Pump - HZ1CZ23 | air source heat pump saturation in heating zone 1 cooling zone 2&3
Heat Pump - HZ23CZ1 | air source heat pump saturation in heating zone 2&3 cooling zone 1
Heat Pump - HZ23CZ23 | air source heat pump saturation in heating zone 2&3 cooling zone 2&3
Heat Pump - HZ1 | air source heat pump saturation in heating zone 1
Heat Pump - HZ23 | air source heat pump saturation in heating zone 2&3
Heat Pump - Region | air source heat pump saturation across region
Electric Zonal - HZ1CZ1 | forced air furnace saturation in heating zone 1 cooling zone 1
Electric Zonal - HZ1CZ23 | forced air furnace saturation in heating zone 1 cooling zone 2&3
Electric Zonal - HZ23CZ1 | forced air furnace saturation in heating zone 2&3 cooling zone 1
Electric Zonal - HZ23CZ23 | forced air furnace saturation in heating zone 2&3 cooling zone 2&3
Electric Zonal - HZ1 | forced air furnace saturation in heating zone 1
Electric Zonal - HZ23 | forced air furnace saturation in heating zone 2&3
Electric Zonal - Region | forced air furnace saturation across region
DHP - HZ1CZ1 | ductless heat pump saturation in heating zone 1 cooling zone 1
DHP - HZ1CZ23 | ductless heat pump saturation in heating zone 1 cooling zone 2&3
DHP - HZ23CZ1 | ductless heat pump saturation in heating zone 2&3 cooling zone 1
DHP - HZ23CZ23 | ductless heat pump saturation in heating zone 2&3 cooling zone 2&3
DHP - HZ1 | ductless heat pump saturation in heating zone 1
DHP - HZ23 | ductless heat pump saturation in heating zone 2&3
DHP - Region | ductless heat pump saturation across region
Central AC - CZ1 | central air conditioner saturation in cooling zone 1
Central AC - CZ23 | central air conditioner saturation in cooling zone 2&3
Room A/C - CZ1 | room air conditioner saturation in cooling zone 1
Room A/C - CZ23 | room air conditioner saturation in cooling zone 2&3
Electric WH | Electric water heater saturation in region
DHW inside | Electric water heater inside conditioned space
DHW buffer | Electric water heater in buffered space (basement or garage)
Refrigerator | Saturation of Refrigerator in homes
Freezer | Saturation of Freezer in homes
Clothes Washer | Saturation of Clothes Washer in homes
Clothes Dryer | Saturation of Clothes Dryer in homes
Dishwasher | Saturation of Dishwasher in homes
Microwave | Saturation of Microwave in homes
Electric Oven | Saturation of Electric Oven in homes
UHD TV | Saturation of UHD TV in homes
Set top box | Saturation of Set top box in homes
Computer | Saturation of Computer in homes
Monitor | Saturation of Monitor in homes
Duct | Length of ducts in home
Wall | Average square feet of walls
Attic | Average square feet of attic
Floor | Average square feet of floors
Window | Average square feet of windows
HomeSqft | Averagetotal square feet of homes
Pin Lamps | Number of bulbs per house
NEW
Electric FAF - HZ1CZ1
Electric FAF - HZ1CZ23
Electric FAF - HZ23CZ1
Electric FAF - HZ23CZ23
Electric FAF - HZ1
Electric FAF - HZ23
Electric FAF - Region
Electric FAF w/ CAC - HZ1CZ1
Electric FAF w/ CAC - HZ1CZ23
Electric FAF w/ CAC - HZ23CZ1
Electric FAF w/ CAC - HZ23CZ23
Heat Pump - HZ1CZ1
Heat Pump - HZ1CZ23
Heat Pump - HZ23CZ1
Heat Pump - HZ23CZ23
Heat Pump - HZ1
Heat Pump - HZ23
Heat Pump - Region
Electric Zonal - HZ1CZ1
Electric Zonal - HZ1CZ23
Electric Zonal - HZ23CZ1
Electric Zonal - HZ23CZ23
Electric Zonal - HZ1
Electric Zonal - HZ23
Electric Zonal - Region
DHP - HZ1CZ1
DHP - HZ1CZ23
DHP - HZ23CZ1
DHP - HZ23CZ23
DHP - HZ1
DHP - HZ23
DHP - Region
Central AC - CZ1
Central AC - CZ23
Room A/C - CZ1
Room A/C - CZ23
Electric WH
DHW <55
DHW >55
Refrigerator
Freezer
Clothes Washer
Clothes Dryer
Dishwasher
Microwave
Electric Oven
UHD TV
Set top box
Computer
Monitor
0
Duct
Wall
Attic
Floor
Window
HomeSqft
Pin Lamps

## taxonomy
Labels | Map to building occupancy codes for various sources |  |  |  |  | EndUse_Name | Category_Name
[6 empty] | Electronics | Computer Technologies | Network Computer Power Management
| Ecotope Building Type | NPPC BUILDTYPE | NPPC to Ecotope | NPPC Ten |  | Electronics | Entertainment | Set Top Boxes
| Assembly | Large Off | #REF! | Large Off |  | Electronics | Entertainment | Televisions
| College | Medium Off | #REF! | Medium Off |  | Electronics | Plug Load | Power Strips
| Grocery | Small Off | #REF! | Small Off |  | Food Preparation | Cooking | Bi-Radient Oven
| Hospital | Big Box | #REF! | Big Box |  | HVAC | Envelope | Air Sealing
| Workshop | Other | Other | Other |  | HVAC | Envelope | Air Sealing
| Skilled Nursing |  |  |  |  | HVAC | Envelope | Insulation
| Warehouse |  |  |  |  | HVAC | Envelope | Insulation
| Other |  |  |  |  | HVAC | Envelope | Windows
[6 empty] | HVAC | Envelope | Windows
|  |  | Characteristics |  |  | HVAC | Heat Recovery | Heat Recovery Improvements
|  | NPPC BUILDTYPE | Primary Activity | Gross Floor Area | Number of Stories | HVAC | HVAC System | Air Conditioners
|  | Large Off | Office | > 100,000 | Any | HVAC | HVAC System | Air-Source Heat Pumps w/Duct Sealing
|  | Medium Off | Office | 20,000 to 100,000 | Any | HVAC | HVAC System | Air-Source Heat Pumps w/Duct Sealing
|  | Small Off | Office | < 20,000 | Any | HVAC | HVAC System | Air-Source Heat Pumps w/o Duct Sealing
|  | Big Box | Retail | > 50,000 | 1 | HVAC | HVAC System | Air-Source Heat Pumps w/o Duct Sealing
|  | Small Box | Retail | <50,000 | 1 | HVAC | HVAC System | Commissioning Controls Sizing
|  | High End | Retail | < 20,000 | 1 | HVAC | HVAC System | Duct Sealing
|  | Anchor | Retail | > 50,000 | >1 | HVAC | HVAC System | Ductless Heat Pumps
|  | K-12 | School | Any | Any | HVAC | HVAC system | Ground-source Heat Pump
|  | University | School | Any | Any | HVAC | HVAC system | Ground-source Heat Pump
|  | Warehouse | Warehouse | Any | Any | HVAC | HVAC System | Ground-Source Heat Pumps w/ Duct Sealing
|  | Supermarket | Retail Food | > 5000 | Any | HVAC | HVAC System | Ground-Source Heat Pumps w/ Duct Sealing
|  | MIniMart | Retail Food | <= 5000 | Any | HVAC | HVAC System | Ground-Source Heat Pumps w/o Duct Sealing
|  | Restaurant | Retail Food | Any | Any | HVAC | HVAC System | Ground-Source Heat Pumps w/o Duct Sealing
|  | Lodging | Lodging | Any | Any | HVAC | HVAC System | Interactive HVAC System Improvements
|  | Hospital | Health Care | Any | Any | HVAC | HVAC system | Sealing and Commissioning
|  | OtherHealth | Health Care | Any | Any | HVAC | HVAC system | Sealing Commissioning and Controls
|  | Other | Other | Any | Any | HVAC | HVAC System | Thermostats
[6 empty] | HVAC | HVAC system | Variable Speed Heat Pumps w/o Duct Sealing
[6 empty] | HVAC | HVAC system | Variable Speed Heat Pumps w/o Duct Sealing
[6 empty] | Lighting | Lamps/Fixtures | Fixtures
[6 empty] | Lighting | Lamps/Fixtures | Lamps
[6 empty] | Lighting | Lighting Controls | Lighting Controls
[6 empty] | Refrigeration | Freezers | Freezer Decommissioning
[6 empty] | Refrigeration | Freezers | Freezers
[6 empty] | Refrigeration | Refrigerators | Refrigerator Decommissioning
[6 empty] | Refrigeration | Refrigerators | Refrigerators
[6 empty] | Water Heating | Heat Recovery | Water Heat Recovery
[6 empty] | Water Heating | Pipe Insulation | Pipe Insulation
[6 empty] | Water Heating | Water Heaters | Heat Pump Water Heaters
[6 empty] | Water Heating | Water Heaters | Water Heaters
[6 empty] | Water Heating | Water Using Devices | Clothes Washers
[6 empty] | Water Heating | Water Using Devices | Dishwashers
[6 empty] | Water Heating | Water Using Devices | Showerheads
[6 empty] | Whole Bldg/Meter Level | Homes | Built Green Home
[6 empty] | Whole Bldg/Meter Level | Homes | EcoRated Home
[6 empty] | Whole Bldg/Meter Level | Homes | Energy Star Home
[6 empty] | Whole Bldg/Meter Level | Homes | Montana House
[6 empty] | Whole Bldg/Meter Level | Homes | NEEM Certified Home
[6 empty] | Whole Bldg/Meter Level | Whole Bldg/Meter Level System Improvements | Behavioral
Unique
[6 empty] | EndUse_Name | Category_Name
[6 empty] | Electronics | Computer Technologies
[6 empty] | Food Preparation | Entertainment
[6 empty] | HVAC | Plug Load
[6 empty] | Lighting | Cooking
[6 empty] | Refrigeration | Envelope
[6 empty] | Water Heating | Heat Recovery
[6 empty] | Whole Bldg/Meter Level | HVAC System
Lamps/Fixtures
Lighting Controls
Freezers
Refrigerators
Pipe Insulation
Water Heaters
Water Using Devices
Homes
Whole Bldg/Meter Level System Improvements

## Tracking Status
End Use | Category Name | Measure Name | Measure Details | Baseline | Segment | Vintage | New from 7P? | UES Measure? | Pending Standard? | RBSA Inform? | Uses SEEM? | ET? | Notes | Cost Source | Cost Notes | Status
Dryers | Dryers | Clothes Dryer | Heat pump dryer | Standard Dryer | All | All |  | x | Std due 2019 | x |  | x |  |  |  | Inputted RTF v3.1, simplified tiers, need to update units
Electronics | Computer Technologies | Display | ENERGY STAR Monitor | Std Monitor | All | All |  |  |  | x |  |  | WA standard follows CA - puts baseline at ENERGY STAR 6.0. Need to compare 8.0 (eff 2020) to 6.0 |  |  | Framework complete from Cadmus. WA state standard about on par with current market practice
Electronics | Computer Technologies | Desktop Computer | ENERGY STAR Computer | Std Computer | All | All |  |  |  | x |  |  | WA standard follows CA - may not have ENERGY STAR savings |  |  | Framework complete from Cadmus. WA state standard about on par with current market practice
Electronics | Computer Technologies | Laptop Computer | ENERGY STAR Computer | Std Computer | All | All |  |  |  | x | [5 empty] | Framework complete from Cadmus. WA state standard about on par with current market practice
Electronics | Computer Technologies | Imaging technologies | ENERGY STAR printer/scanner/copier | std printer/scanner/copier | All | All | x |  |  | x | [5 empty] | No new spec since 2014 and 2017 Unit Shipment Data indicates 99% of units are ES qualified
Electronics | Plug Load | Power Strips | Advanced Power Strips | Standard Outlet | All | All |  | x |  | x | [5 empty] | Ready for review
Electronics | Home Entertainment | Soundbars | ENERGY STAR+ sound bars | market avg | All | All | x |  |  | x |  |  | RPP can inform, new ES spec 19/20 so may be useful |  |  | Updated ES spec is not expected until mid-2020, at earliest, so likely not available in time for supply curves
Electronics | Home Entertainment | Blu-ray/DVD player | ENERGY STAR blu-ray/DVD | market avg | All | All | x |  |  | x |  |  | not sure on savings, market is diminishing |  |  | Market is diminishing - long term potential minimal
Electronics | Home Entertainment | TVs | ENERGY STAR+20% UHD TV | market avg | All | All | x |  |  | x |  |  | Coordinate w NEEA |  |  | early version ready, need updated consumption data from NEEA
Food Preparation | Cooking | Oven | Efficient Oven | Fed Std 2012 | All | All |  |  | Std due 2017 | x | [5 empty] | V1 basically ready, need to update units
Food Preparation | Cooking | Microwave | Efficient Microwave | Fed Std 2016 | All | All |  |  | Std due 2021 | [6 empty] | V1 basically ready, need to update units
HVAC | Envelope | Insulation | Attic Insulation | Low/No insulation | All | Existing |  | 2019 |  | x | x
HVAC | Envelope | Insulation | Wall Insulation | Low/No insulation | All | Existing |  | 2019 |  | x | x
HVAC | Envelope | Insulation | Wall Sheathing | Low/No insulation | All | Existing |  | 2019 |  | x | x |  | feasibility to not overlap w/ insulation |  |  | Don't have estimate
HVAC | Envelope | Insulation | Floor Insulation | Low/No insulation | All | Existing |  | 2019 |  | x | x
HVAC | Envelope | Insulation | Windows U<0.35 | Single/Double Pane | All | Existing |  | 2019 |  | x | x |  |  |  |  | Exluding because low-E storm windows are much more cost effective option
HVAC | Envelope | Insulation | Low-E Storm windows | Single/Double Pane | All | Existing |  | 2019 |  | x | x
HVAC | Envelope | Insulation | Infiltration | High leakage | All | Existing |  | 2019 |  | x | x
HVAC | Envelope | Storm/thermal door | Storm/thermal door | Low R door | All | Existing | x |  |  |  | ?
HVAC | Envelope | Insulation | Attic Insulation | Code-avg | All | New | x | 2019 |  |  | x |  | maybe just for MT & ID |  |  | Dropped b/c ID & MT likely to be adopting 2018 IECC
HVAC | Envelope | Insulation | Wall Insulation | Code-avg | All | New | x | 2019 |  |  | x |  | maybe just for MT & ID |  |  | Dropped b/c ID & MT likely to be adopting 2018 IECC
HVAC | Envelope | Insulation | Floor Insulation | Code-avg | All | New | x | 2019 |  |  | x |  | maybe just for MT & ID |  |  | Dropped b/c ID & MT likely to be adopting 2018 IECC
HVAC | Envelope | Insulation | Windows | Code-avg | All | New | x | 2019 |  |  | x |  | maybe just for MT & ID |  |  | Dropped b/c ID & MT likely to be adopting 2018 IECC
HVAC | Envelope | Insulation | Infiltration | Code-avg | All | New | x | 2019 |  |  | x |  | maybe just for MT & ID |  |  | Dropped b/c ID & MT likely to be adopting 2018 IECC
HVAC | Heat Recovery | Energy/Heat Recovery Improvements | ERV/HRV | Natural Ventilation | All | New |  | ? |  |  | ?
HVAC | HVAC System | Insulation | Duct insulation | Low/No insulation | All | Existing |  |  |  | x | ?
HVAC | HVAC System | Variable Speed Heat Pumps | VS ASHP 12.0 HSPF/18 SEER | 8.8HSPF/15SEER (or std practice) | All | All |  | 2019 |  | x | x | x
HVAC | HVAC System | Air Source Heat Pump | ASHP 9.5 HSPF/15.5 SEER | 8.8HSPF/15SEER (or std practice) | All | All |  | 2019 |  | x | x
HVAC | HVAC System | Variable Speed Heat Pumps - Dual Fuel | VS ASHP 12.0 HSPF/18 SEER | 8.8HSPF/15SEER (or std practice) | All | All | x |  |  | x | x | x
HVAC | HVAC System | Air Source Heat Pump - Dual Fuel | ASHP 9.5 HSPF/15.5 SEER | 8.8HSPF/15SEER (or std practice) | All | All | x |  |  | x | x
HVAC | HVAC System | Air Source Heat Pump | ASHP 8.8 HSPF/15 SEER | Electric FAF | All | Existing |  | 2019 |  | x | x
HVAC | HVAC System | High Efficiency Central Air Conditioner | SEER 15+ | current practice/2023 std | All | All | x |  |  | x | ?
HVAC | HVAC System | Ductless Heat Pump | DHP 9.5 HSPF | Zonal | All | Existing |  | 2019 |  | x | x |  |  |  |  | Retro5MED
HVAC | HVAC System | Ductless Heat Pump | DHP 9.5 HSPF | Electric FAF | SF,MH | Existing |  | 2019 |  | x | x |  |  |  |  | Incorporated RTF wkbk, need to decide on share w/ zonal
HVAC | HVAC System | Ground-Source Heat Pump | GSHP w/ and w/o desuperheater | 8.8HSPF/15SEER (or std practice) | SF | All |  | x |  | x | x
HVAC | HVAC System | Duct Sealing | PTCS-level sealing | Leaky ducts | All | Existing |  | x |  | 2011RBSA | ?
HVAC | HVAC System | Furnace Fan | ECM motor | PSC motor | All | All | x |  |  | ? | x |  | New furnaces require ECM part of 2019 std. Can't easily retrofit
HVAC | HVAC System | Whole House Fan | Whole House Fan | No Fan | All | All | x |  |  |  | x |  | Initial scanning work is that it is difficult to quantify savings and not likely cost effective |  |  | Incorporated Cadmus work into workbook
HVAC | HVAC System | CC&S | Controls Commissioning & Sizing | No CCS | All | All |  | 2019 |  |  | x |  |  |  |  | Overlaps with Tstat, savings for ASHP upgrade already includes some of CC&S
HVAC | HVAC System | High Eff Ceiling Fan | Ceiling fan w brushless DC motors | Fed Std 2020 | All | All | x |  |  | x |  |  | DOE TSD, max tech is measure, standard is one step below |  |  | Data not in RBSA to indicate presense of fans (do have some indication for light bulbs, but not comprehensive)
HVAC | HVAC System Controls | Thermostats | Smart Thermostat | Standard thermostat (std practice) | All | All |  | 2019 |  | x |  | x
HVAC/Water Heating | HVAC System/Water Heaters | CO2 heat pump combo | radiative floor heat + HPWH | ER space heat/0.95 EF WH | SF | New | x |  |  |  |  | x | Not commercially ready
Lighting | Lamps/Fixtures | Lamps | LED Standard | current practice | All | All |  | 2019 |  | x
Lighting | Lamps/Fixtures | Lamps | LED Specialty | current practice | All | All |  | 2019 |  | x
Lighting | Lamps/Fixtures | Lamps | Linear LED | current practice | All | All |  | 2019 |  | x
Lighting | Lamps/Fixtures | Fixtures | LED fixtures | current practice | All | All |  | 2019 |  | x
Lighting | Lamps/Fixtures | Lighting controls | Occupancy sensor | current practice | All | All | x |  |  | x |  |  | Likely hard to quantify HOU difference, as LMI to LEDs, savings likely pretty small
| Plug Load | Adv Power Strips | Tier 2 | basic plug | [11 empty] | complete
Refrigeration | Freezers | Freezers | ENERGY STAR freezer | Fed Std 2014 | All | All |  | 2019 | Std due 2019 | x | [5 empty] | v1 complete, except for units
Refrigeration | Refrigerators | Refrigerators | ENERGY STAR fridge | Fed Std 2014 | All | All |  | 2019 | Std due 2019 | x | [5 empty] | v1 complete, except for units
Water Heating | Pipe Insulation | Pipe Insulation | R4 insulation | No Insulation | All | Existing | x | [5 empty] | Hard to quantify savings |  |  | v1 complete, except for units
Water Heating | Water Heaters | Drain Water Heat Recovery | Heat recovery unit | No Heat Recovery | SF,MF | New | [9 empty] | V1 complete, except for need new units forecast.
Water Heating | Water Heaters | Heat Pump Water Heaters | HPWH Tier 2+ | 0.95 EF WH | All | All |  | x | Std due 2018 | x | x |  |  |  |  | Inputted RTF v4.2, need updated units
Water Heating | Water Using Devices | Dishwashers | ENERGY STAR Dishwasher | Fed Std 2013 or CP | All | All |  | x |  | x | [5 empty] | v1 complete, except for need new units forecast. No sales data available, using CEC for sales mix proxy
Water Heating | Water Using Devices | Clothes Washers | ENERGY STAR Clothes Washer | Fed Std 2018 or CP | All | All |  | x |  | x | [5 empty] | Inputted RTF v6.1, updated to 2018 NEEA market data; need updated units
Water Heating | Water Using Devices | Showerheads | 1.5 GPM | sales avg | All | All |  | 2019 |  | x | [5 empty] | Updated to RTF workbook v4_2, need new units data
Water Heating | Water Using Devices | TSRV | TSRV | no TSRV | All | All | x | 2019 | [7 empty] | Inputted RTF v3_1 data, need updated units forecast
Water Heating | Water Using Devices | Aerators | 1.0 GPM | stock avg | All | All |  | x |  | x | [5 empty] | Inputted RTF v3_1 data, need updated units forecast
Water Heating | Water Control | Circulator pumps | Pump with controls | No controls | MF | Existing | x | x |  |  |  |  | Most pumps are in MF, so delegating to Commercial |  |  | Draft data from Cadeo, should be ready mid-Feb
Whole Bldg/Meter Level | Whole Bldg/Meter Level System Improvements | Behavioral | Home Energy Reports | No Report | All | All |  |  |  |  | in part |  | Incl shower timer as part of mix?
Whole Bldg/Meter Level | Plug Load | Electric Vehicle Supply Equipment | ENERGY STAR Tier 2 EVSE | Non-ES Tier 2 | SF | All |  | 2019 |  | x |  | y |  |  |  | Inputted RTF v1_1 data, and EV growth projections
Misc | Portable spa | Portable spa | Efficient portable spa (mtng CA stand?) | Std Spa | All | All | x |  |  | x |  |  | RBSA does not provide data on portable vs in-ground spas |  |  | Federal standard coming into effect in 2020
Misc | Plug Load | Air cleaners | ENERGY STAR + | market avg | All | All | x |  |  | x |  |  | Part of NEEA RPP, likely low potential. New ES spec due 2019 |  |  | Ready for posting
Misc | Plug Load | Dehumidifier | Max tech from DOE TSD (supporting 2019 fed std) | 2019 fed std or CP | All | All | x |  |  | x |  |  | Low saturation from RBSA, so likely low potential |  |  | No longer supported by RPP, so will drop given low saturation (~2% of homes from RBSA)
Misc | Plug Load | Well pumps | High efficiency | Avg efficiency | [11 empty] | V1 complete, a lot of unknowns
HVAC | HVAC System | Cellular Shades |  | standard blinds | [8 empty] | PNNL Study on savings impact
posted
comments addressed
Note on J11: Tina Jayaweera: According to RegInfo.gov, not planned
Note on E28: Tina Jayaweera: 2023 std
Note on E29: Tina Jayaweera: 2023 std
Note on E30: Tina Jayaweera: 2023 std
Note on E31: Tina Jayaweera: 2023 std
Note on E37: Tina Jayaweera: 2023 std
Note on G61: Tina Jayaweera: On-demand required in new construction
Note on D66: Tina Jayaweera: fed std is TSL level 3, max tech is level 4 New ENERGY STAR spec v5 finalized 2019

## Update Log
Update Log: Log for updates to Draft 2021Plan Assessment
2019-03-28 | updated from 7P version, refreshing MList