## Slide 1: 2021 Adequacy Assessment Power Plan vs. Adequacy Assessment Resource Adequacy Advisory Committee
Steering Committee Webinar
March 25, 2016

## Slide 2: Next Adequacy Assessment
Seventh Plan was adopted Feb 10, 2016
2016 Adequacy Assessment is anticipated June 14-15
Action Items COUN-3 to COUN-6 address review of Adequacy Assessment Assumptions and Methods in 7th Plan

## Slide 3: GENESYS Redevelopment
FY16 – Develop expanded methodology
FY17 – Code and Test
FY18 – First potential adequacy assessment with redeveloped model

## Slide 4: Action Item Res-3
Develop and implement methods to identify system specific least-cost resources to maintain resource adequacy
  […]
  Assess the individual positions of Bonneville or the utility with regard to the contribution to individual and regional reliability.
Beyond Red-Yellow-Green Assessment

## Slide 5: Previous Adequacy Assessments
Adequacy assessments between the 6th and 7th plans used conservation consistent with 6th plan targets
Loads were as discussed in the last RAAC Technical meeting
Generally, adequacy assessments were based on 6th plan framework

## Slide 6: Future Adequacy Assessments
The 7th Plan establishes a closer tie between adequacy assessment and power plan
More consistency with Power Plan is desirable
Adequacy standards in turn drive Power Plan resource strategies

## Slide 7: Adequacy Assessment in the 7th Plan
Baseline for the 2016 adequacy assessment will be consistent with 7th plan setup, so you’ll see in the next agenda items…